PAKISTAN REVENUE AUTOMATION (PVT.) LIMITED

Invitation for Bids

Ref. Admin/Electrical work /PRAL/HQs/2010		     		       	                   July 14, 2010

Subject:	TENDER NO. ADMN (G-07)/2010 DATED 14/07/2010 FOR SUPPLY AND INSTALLATION OF ELECTRICAL ITEMS AS DETAILED IN SCHEDULE OF REQUIREMENT ANNEXURE “A” (LOT-1 AND LOT 2):

1.	Pakistan Revenue Automation (Pvt.) Ltd. (hereinafter called PRAL/Purchaser) invites sealed bids for supply and installation (on most urgent basis) of Electrical Items as per detail given in Schedule of Requirement Annexure “A” (LOT-1 and LOT-2).

2.	All Government Taxes shall be deducted as per law.

3.	PRAL reserves the right to increase or decrease the quantity of the items given in the Schedule of Requirement, accept or reject any bid to be received against this tender inquiry, annul the bidding process and reject all bids at any time prior to award of Contract (s) without thereby incurring any liability to the affected Bidder or Bidders or any obligation to inform the affected Bidder or of the grounds for PRAL’s action.

4.	DELIVERY SCHEDULE

The supply and installation of the electrical items given in the Schedule of Requirement (LOT-1 to LOT2) is required on most urgent basis. So the lowest technical compliant bidder may be in a position to supply and install the order material as immediately as possible (supply within a week and installation within next 10 days) after award of the contract (s).

5.	PENALTY:

For failure to comply with the delivery schedule of Purchase Order (s), to be issued against this tender documents penalty will be imposed on defaulting Supplier as under:

5.1	1% of the cost of entire purchase order or of such item as remain un-supplied/un-completed for every day up to maximum of 5% for 10 days exceeding the delivery period.

5.2	If the item is not supplied even after payment of penalty for 10 consecutive days PRAL reserves the right to cancel the purchase order and to purchase required equipment from elsewhere at risk and cost of the defaulting Supplier.

6.	Quoted prices must be inclusive of all taxes (Income Tax and Sales Tax), indicating unit price and total bid price.

7.	Price must be quoted including all charges like handling, loading, transportation, unloading of the material on the locations mentioned in Schedule of Requirement. Quoted prices must also be inclusive of cost for the free maintenance of equipment on installation site during warranty period.

8.	Bidding Form (separate for each LOT) must also be duly filled in, stamped and signed by authorized representative of the bidder.

9.	Quoted price shall be valid for 120 days from the opening date of the bids. However, any subsequent change in taxes and duties as notified by Central Board of Revenue will be given due consideration.

10.	PAYMENT:

100% payment of the total value of the bill/purchase order will be released subject to Completion of the delivery/installation of the electrical items in accordance with the specifications mentioned in this tender document or Purchase Order(s) to be issued against this tender.

11.	SEALING AND MARKING OF BIDS.

11.1	The bids shall be submitted in sealed envelope marked as under:

MANAGER (ADMINISTRATION)

PAKISTAN REVENUE AUTOMATION (Pvt.) LIMITED

HOUSE # 15, STREET # 19, F-6/2, ISLAMABAD.

11.2	The envelopes shall also bear the word “CONFIDENTIAL” and following identifications:-

BID NO. ADMN (G-07)/2010 DATED 14-07-2010

For Supply & Installation Of Electrical Items.

12.	DEADLINE FOR SUBMISSION OF BIDS:

All bids must be delivered in the Office of undersigned on or before the prescribed deadline of 1200 hours on 22/07/2010.

13.	OPENING OF BIDS:

The Purchaser will open the bids in the presence of bidder representatives who choose to attend at 1230 hours on 22/07/2010 at the below mentioned address.

14.	WARRANTY

14.1	The Supplier shall warrant that all equipment supplied against the Purchase Order (s) shall have no defect arising from design, materials or workmanship or from any act or omission of the Supplier, that may develop under normal use of the supplied items under the conditions prevailing at final destination.

14.2	Period of Warranty and maintenance with labour and material cost shall be six (06) Months.

During warranty period the supplier will be responsible to repair/replace the faulty equipment on installation place free of cost within 24 hours after occurrence of fault

15.	EARNEST MONEY:

The Bidder shall furnish as part of his bid, a Call Deposit/Pay Order equivalent to 2% of the total bid value separately for each LOT as Earnest Money crossed in favour of “Pakistan Revenue Automation (Pvt.) Ltd.”. Any bid not accompanied by Earnest Money shall be rejected without any right of appeal. In case of cancellation of Purchase Order as default of the Supplier the earnest money shall be forfeited in favour of PRAL.

16.	PRAL reserves the right to accept or reject any bid and to annul the bidding process and reject all bids at any time prior to award of Contract (s) without thereby incurring any liability to the affected Bidder or Bidders or any obligation to inform the affected Bidder or of the grounds for PRAL’s action.

17.	If you have any doubt as to the meaning of any portion of the technical specifications, you may seek clarification of the same from Malik Nasir Abbas, Manager (Infrastructure) PRAL Cell # 0321-5371151, Ph: 051-9204952, 9206777.

18.	All bids should include:

18.1	Company’s profile, list of clients with their telephone number and address;

18.2	Copies of Income Tax and Sales Tax registration certificates;

18.3	Pay order, being 2% of the total bid value.

.

# (SOHAIL AKHTAR)

Manager (Administration.)

House # 15, Street # 19, F-6/2, Islamabad.

Phone:	051-9208687

ANNEXURE-A

SCHEDULE OF REQUIREMENT

TENDER # ADMN(G-07)/2010 DATED 14/07/2010

LOT-1

(SUPPLY & INSTALLATION OF ELECTRICAL ITEMS AT OLD CBR BUILDING, CDA BLOCK-III, MELDOY, ISLAMABAD.

| Sr # | Description | Qty |
| --- | --- | --- |
| 1 | Power Cable 4mm2 Flexible (Pakistan/Pioneer Cable per meter) | 45 |
| 2 | Power Cable 2.5mm2 3Core Flexible (Pakistan/Pioneer Cable, Roll) | 1 |
| 3 | UL Socket 32A / 5 Pin / 3Phase (Clipsal) | 4 |
| 4 | UL Socket 16A / 3 Pin (Clipsal) | 16 |
| 5 | Circuit Breaker 32 Amp 3 Phase (MG) | 4 |
| 6 | Circuit Breaker 20 Amp Single Phase (MG) | 6 |
| 7 | Earth Pit with heavy duty Copper bus bar for distribution | 1 |
| 8 | Sandry Installation Material | 1 |
| 9 | 35mm2 Single Core Earth Cable (per meter) | 1 |
| 10 | PVC Duct 60 x 60, 10 Ft Length (Adamjee) | 1 |
|  | Laying Charges |  |
| 1 | Laying & Installation of 6 & 2.5 mm2 cable into 32 & 16A UL Sockets end to end (Per Node Charges) | 1 |
| 2 | Laying of 35mm2 Cable from Earth Pit to Panel (Per Meter) | 1 |
| Wapda Upgradation from Transformer to LT Panel |
| 1 | LT Main Breaker 400A TP - 50K (Make: MG) | 1 |
| 2 | Transformer to Main LT Panel 240mm (Per Meter/ Imported) | 1 |
| 3 | Digging, Laying and Complete Backfilling (3ft deep trench with 2x6" RCC Pipe) - per running meter | 1 |
| 4 | Accessories (Long Noozle Copper Lugs, Tapes etc) | 1 |

(SUPPLY & INSTALLATION OF ELECTRICAL ITEMS AT PRAL OFFICE. 5TH FLOOR, ETC BUILDING, ISLAMABAD.

| Sr # | Description | Qty |
| --- | --- | --- |
| 1 | Phase Reversal Correction Panel for 150A per phase load | 1 |
| 2 | Power Input / Output DB for 60 KVA UPS, Input & Output Main 2x100 AMP, 2x32AMP TP Breaker for ACs, Digital Volt and Amper Meter, with Imported Fan and Exhaust for Cooling and Indication Lights | 1 |
| 3 | Circuit Breaker 32 Amp TP (MG) | 2 |
| 4 | Circuit Breaker 20 Amp SP (MG) | 15 |
| 5 | Power Cable 4mm2 Flexible (Pakistan/Pioneer Cable per meter) | 45 |
| 6 | Power Cable 2.5 mm2 3 Core Flexable (Pakistan/Pioneer Cable, Roll) | 1 |
| 7 | UL Socket 32A / 5 Pin / 3Phase (Clipsal) | 2 |
| 8 | UL Socket 16A / 3 Pin (Clipsal) | 20 |
| 9 | Earth Pit with heavy duty Copper bus bar for distribution (Less than 1 volt rating) | 1 |
| 10 | 35 mm2 Single Core Earth Cable per meter | 1 |
|  | Laying Charges |  |
| 1 | Laying & Installation of 4 & 2.5 mm2 cable into 32 & 16A UL Sockets end to end (Per Node Charges) | 1 |
| 2 | Laying of 35mm2 Cable from Earth Pit to Panel (Per Meter) | 1 |
| 3 | Installation & Termination of Phase Reversal Correction, Input & Output DB | 1 |
|  | Note: Vendor will pay to WAPDA Cable termination charges for transformer & WADPDA operated Meter |  |

LOT-2

SUPPLY OF ELECTRICAL ITEMS AT PRAL OFFICE. 9TH FLOOR, CUSTOM HOUSE, KARACHI.

| Sr. # | Description | Quantity |
| --- | --- | --- |
| 1 | Power cable 6mm 4 core stander (Pakistan cable) | 100-Meters |
| 2 | Power cable 6mm 3 core stander (Pakistan cable) | 100-Meters |
| 3 | Power cable 10mm 3 core flexible (Pakistan cable / HM) | 30-Meters |
| 4 | UL socket 63-Amp / 5 Pin / 3 Phase [clipsal] | 6-Pcs |
| 5 | UL socket 32-Amp / 3 Pin [ Clipsal ] | 6-Pcs |
| 6 | Circuit Breaker 32 Amp 3 Phase (Hager) | 12 Pcs |
| 7 | Circuit Breaker 16 Amp single Phase (Hager) | 12 Pcs |
| 8 | Power Distribution Unit (PDU) IBM 14 Nodes / 2 | 2Pcs |
| 9 | Power Male and Female cable 2 Meters (IBM) 2.5MM/4mm | 24Pcs |
| 10 | Metal Hole saw kit | 1-kit |
| 11 | Nitto Tape different colours | 5-Pcs |
| 12 | Power cable Lugs difrent Size | 50 Pcs |
| 13 | Cable Tie 12" | 1-Packet |
| 14 | Flexibel Metal Pipe with Pvc coding 1",2" size | 100 Fit |
| 15 | UL Socket / Circuit Breaker Back Box 16 Gage | 3Pcs |
| 16 | Power indication Light Green Colour | 12 Pcs |
| 17 | Cable Gilent Pvc /6mm 3 core/ 6mm 4 core | 12 Pcs |

SUPPLY OF ELECTRICAL ITEMS AT PRAL OFFICE. 3RD FLOOR, RTO, KARACHI

| Sr. # | Description | Quantity |
| --- | --- | --- |
| 1 | Power cable 16mm 4 core stander (Pakistan cable) | 100-Meters |
| 2 | Power cable 10mm 3 core flexible (Pakistan cable / HM) | 100-Meters |
| 3 | Power cable 6mm 7/44 stander (Pakistan cable) Green colour | 2-Roll |
| 4 | Power Cable 35 mm Flexible single core | 30-Meters |
| 5 | Circuit Breaker 100-Amp 3-Phase Terasakhi | 2-Pcs |
| 6 | Circuit Breaker 60-Amp 3-Phase Terasakhi | 4 pcs |
| 7 | Circuit Breaker 32-Amp 3-Phase (Hager) | 6 pcs |
| 8 | Circuit Breaker 16-Amp single phase Hager | 12 pcs |
| 9 | UL socket 63-Amp / 5 Pin / 3 Phase [clipsal] | 6-Pcs |
| 10 | UL socket 32-Amp / 3 Pin [ Clipsal ] | 6-Pcs |
| 11 | Cable Metal Ducting 16 Gage 8"/6" size | 50-Feet |
| 12 | Upvc Pipe 1 ½ " Size | 300-Feet |
| 13 | Upvc Socket 1 ½ " Size | 36-Pcs |
| 14 | Upvc Band 1 ½ " Size | 12-Pcs |
| 15 | Metal Flexibal pipe with Pvc Cooding 1 ½ / 2" Size | 100-Feet |
| 16 | Power Distribution Unit (PDU) IBM 14 Nodes / 2 | 2Pcs |
| 17 | Power Male and Female cable 2 Meters (IBM) 2.5MM/4mm | 24Pcs |
| 18 | Nitto Tape different colours | 5-Pcs |
| 19 | Power cable Lugs different Size | 100 Pcs |
| 20 | Cable Tie 12" | 2-Packets |
| 21 | Cable Gilent Pvc /16mm 3 core/ 10mm 3 core | 24 Pcs |
| 22 | Change over switch 100-amp 4 Pole (Bramas) | 1Ps |
| 23 | Breaker Panels different Size complet Digital Volt/Amp Meters with meters selector | 3-Pcs |

Note:

Installation charges of the electrical items mentioned in LOT-2 must be quoted separately.

ANNEXURE-"B"

BIDDING FORM

##### Dated 14/07/2010						    Tender No.ADMN(G-07)/2010

Pakistan Revenue Automation (Pvt.) Limited, Islamabad.

Gentlemen,

1.	Having examined the conditions to Tender and Specifications of Tender No.ADMN(G-07)/2010 dated 14/07/2010 the receipt of which is hereby acknowledged we, the undersigned, offer to install, supply and deliver in conformity with specifications mentioned in Annexure “A” and conditions of Tender for the sum of Rs._________________________ (Rupees ______________________________ ) or such other sums as may be ascertained in accordance with the said Conditions.

2.	If our Bid is accepted we shall deliver the equipment mentioned in the tender documents within ______ days from the date of receipt of your firm Purchase Order.

3.	We agree to abide by the terms and conditions of the Tender for the period of _______ from the date fixed for receiving the same and it shall remain binding upon us and may be accepted at any time before the expiration of that period.

4.	Until a formal Purchase order(s) is placed, this Bid, together with your written acceptance thereof, shall constitute a binding contract between us.

5.	We understand that you are not bound to accept the lowest or any proposal you may receive or to inform us of the rejection of our bid or to give any reasons therefor.

Dated this ______________________ day of ______________________________ 2010_______________.

Signature _______________________ in the capacity of ______________________________ duly authorized to sign Tender for and on behalf of

_____________________________________________________________________________________

(NAME OF FIRM IN BLOCK CAPITALS)

Complete address:________________________________________________________________________

Fax No.____________________________ Telephone No.______________________________________

______________________

( SIGNATURE )

Witness:-

1.	_______________________

2.	_______________________