SHORT TENDER NOTICE NO.P-31/2010

Sealed proposals are invited from the firms having registration with the Sales Tax and Income Tax departments for supply & installation of Air Conditioners, power cabling and glass partitioning at PRAL offices located in Islamabad and Karachi. Tender Documents may be obtained from the office of undersigned during office hours or may download from www.ppra.org.pk or www.pral.com.pk from 07/10/2010 to 14/10/2010. Last date for submission of the bids is 14/10/2010 on or before 1200 hours. Bids shall be opened on the same day at 1230 hours.

Manager (Administration)

House # 15, Street # 19, F-6/2 Islamabad.

Ph: 051-9208687

PAKISTAN REVENUE AUTOMATION (PVT.) LIMITED

Invitation for Bids

Ref. P-31/2010	     		       	         									October 07, 2010

Subject:	TENDER NO. P-31/2010 DATED 07 /10/2010 FOR SUPPLY AND INSTALLATION OF FLOOR STANDING SPLIT TYPE AIR CONDITIONERS, ELECTRICAL ITEMS AND GLASS PARTITIONING AS DETAILED IN SCHEDULE OF REQUIREMENT (LOT-1 TO LOT-4)

1.	Pakistan Revenue Automation (Pvt.) Ltd. (hereinafter called PRAL/Purchaser) invites sealed bids for supply & installation of Air Conditioners, power cabling and glass partitioning at PRAL offices located in Islamabad and Karachi as per detail / specifications described in the Schedule of Requirement  from “LOT-1” to LOT-4”

2.	All Government Taxes shall be deducted as per law.

3.	PRAL reserves the right to increase or decrease the quantity of the items given in the BOQ, accept or reject any bid to be received against this tender inquiry, annul the bidding process and reject all bids at any time prior to award of Contract (s) without thereby incurring any liability to the affected Bidder or Bidders or any obligation to inform the affected Bidder or of the grounds for PRAL’s action.

4.	PROJECT COMPLETION TIME

Project completion timelines are 2 weeks from the date of issuance of PO/WO. All activities must be carried out in parallel. There is a penalty associated with the delay in project from the specified completion timelines. 5% of total project cost will be deducted if a project is delayed for 1 week, 10% if the project is delayed 2 weeks. Any further delay will result in the cancellation of the contract.

5.	PENALTY:

For failure to comply with the delivery/project completion schedule there is a penalty associated with the delay in project from the specified completion timelines. 5% of total project cost will be deducted if a project is delayed for 1 week, 10% if the project is delayed 2 weeks. Any further delay will result in the cancellation of the project.

6.	Quoted prices must be inclusive of all taxes (Income Tax and Sales Tax), indicating unit price and total bid price.

7.	Price must be quoted including all charges like handling, loading, transportation, unloading of the material.

8.	Bidding Form (separate for each LOT) must also be duly filled in, stamped and signed by authorized representative of the bidder.

9.	Quoted price shall be valid for 120 days from the opening date of the bids. However, any subsequent change in taxes and duties as notified by Federal Board of Revenue will be given due consideration.

10.	PAYMENT:

100% payment of the total value of the bill/purchase order will be released subject to Completion of the delivery of the items / jobs in accordance with the specifications mentioned in this tender document or Work Order to be issued against this tender and submission of bank guarantee as described under clause “17” of the tender documents.

11.	SEALING AND MARKING OF BIDS.

11.1	The bids shall be submitted in sealed envelope marked as under:

MANAGER (ADMINISTRATION)

PAKISTAN REVENUE AUTOMATION (Pvt.) LIMITED

HOUSE # 15, STREET # 19, F-6/2, ISLAMABAD.

11.2	The envelopes shall also bear the word “CONFIDENTIAL” and following identifications:-

BID NO. P-31/2010

For the supply & installation of Air Conditioners, Power cabling and Glass Partitioning

12.	DEADLINE FOR SUBMISSION OF BIDS:

All bids must be delivered in the Office of undersigned on or before the prescribed deadline of 1200 hours on 14/10/2010.

13.	OPENING OF BIDS:

The Purchaser will open the bids in the presence of bidder representatives who choose to attend at 1230 hours on 14/10/2010 at the below mentioned address.

14.	WARRANTY

14.1	The Supplier shall warrant that all equipment supplied against the Purchase Order (s) shall have no defect arising from design, materials or workmanship or from any act or omission of the Supplier, that may develop under normal use of the supplied items under the conditions prevailing at final destination.

14.2	Warranty for Air Conditioners must be provided in accordance with manufacturer’s provided warranty at on-site. During warranty period the supplier will be responsible to repair/replace the faulty item (s) on installation place free of cost within 24 hours after occurrence of fault

14.3.	Warranty for electrical items must be provided for a period of six months. During warranty period the supplier will be responsible to repair/replace the faulty item (s) on installation place free of cost within 24 hours after occurrence of fault.

15.	PRAL reserves the right to accept or reject any bid and to annul the bidding process and reject all bids at any time prior to award of Contract (s) without thereby incurring any liability to the affected Bidder or Bidders or any obligation to inform the affected Bidder or of the grounds for PRAL’s action.

16.	If you have any doubt as to the meaning of any portion of the technical specifications, you may seek clarification of the same from Malik Nasir Abbass, Manager (Infrastructure) PRAL, Ph # 051-9204952, Cell # 0321-5371151 and Syed Muhammad Amir, Manager (IT-Operations) PRAL, Cell # 0323-5159219.

## 17.	BANK GUARANTEE

After completion and acceptance of the Project by PRAL, the bidder will have to provide the Bank Guarantee, being 10% of the total value of the bill/Contract, issued by renowned Schedule Bank, for the warranty/maintenance period to be offered. In case the supplier failed to provide the Bank Guarantee 10% of the total bill value shall be retained by PRAL for the successful completion of warranty period. The Bank Guarantee shall be released after successful completion of warranty period. In case the supplier failed to complete the warranty period successfully then the retained value/bank guarantee shall be forfeited in favour of PRAL.

18.	EARNEST MONEY:

The Bidder shall furnish as part of his bid, a Call Deposit/Pay Order equivalent to 2% of the total bid value separately for each LOT as Earnest Money crossed in favor of "Pakistan Revenue Automation (Pvt.) Ltd.". Bank Guarantee as earnest money shall not be entertained. Any bid not accompanied by Earnest Money shall be rejected without any right of appeal.

19.	All bids should include:

19.1	Company’s profile, list of clients with their telephone number and address;

19.2	Copies of Income Tax and Sales Tax registration certificates; and

19.3	Earnest money as per clause 18 of the tender documents.

19.4.	Broachers of the quoted ACs/electrical items.

20.	The bidders are required to quote ITEM WISE and LOT WISE rates.

# (SOHAIL AKHTAR)

Manager (Administration.)

House # 15, Street # 19, F-6/2, Islamabad.

Phone:	9208687

SCHEDULE OF REQUIREMENT

TENDER # P-31/2010 DATED 07/10/2010

1.0	SUPPLY & INSTALLATION OF FLOOR STANDING – SPLIT TYPE AIR CONDITIONERS AT 9TH FLOOR, CUSTOMS HOUSE, KARACHI & 3RD FLOOR, RTO BUILDING, KARACHI.

LOT-1A (Customs House Karachi):

| 1.1 | 3 Phase Split Type Air-Conditioners |
| --- | --- |
| # | Item Description | Qty | Specifications / Brand |
| i | Supply of Floor Standing AC 4.0 Tons with capacity of 48000 BTU. | 2 | Mitsubishi Electric or equivalent ACs must be able to provide 48000 BTU cooling capacity with Auto ON circuit including standard allied accessories, installation kit, catalogues / manuals. Standard manufacturer's warranty terms must be clearly mentioned. |
| ii | Supply of Ceiling Type Split AC 4.0 Tons with capacity of 48000 BTU. | 2 | General or equivalent ACs must be able to provide 48000 BTU cooling capacity with Auto ON circuit including standard allied accessories, installation kit, catalogues / manuals. Standard manufacturer's warranty terms must be clearly mentioned. |
| iii | Relocation of Existing ACs | 3 | Relocation of 2 x existing Hitachi and 2 x Climax ACs as per the proposed drawing shown below with complete piping and drainage. |
| iii | Automatic ON/OFF AC circuits | 4 | For existing 4 x Hitachi ACs. |
| iv | Outdoor Placement |  | Outdoor units must be placed on rooftop on concrete pads. |
| v | Indoor Placement |  | Floor Standing Indoor Units must be placed on an iron stand with 6" height from floor, Ceiling type Split ACs must be installed using manufacturer’s provided mountings strong enough to bear the weight of AC. |
| vi | Drainage | APA | Laying of UPVC Pipe of 1" dia completely sealed with adhesive solution on joints and bends to prevent water leakage. |

LOT-1B (RTO Building Karachi):

| 1.2 | 3 Phase Split Type Air-Conditioners |
| --- | --- |
| # | Item Description | Qty | Specifications / Brand |
| i | Supply of Floor Standing AC 4.0 Tons with capacity of 48000 BTU. | 2 | Mitsubishi Electric or equivalent ACs must be able to provide 48000 BTU cooling capacity with Auto ON circuit including standard allied accessories, installation kit, catalogues / manuals. Standard manufacturer's warranty terms must be clearly mentioned. |
| ii | Relocation of Existing ACs | 2 | Relocation of 2 x existing Sabro ACs as per the proposed drawing shown below with complete piping and drainage. |
| iii | Automatic ON/OFF AC circuits | 2 | For existing 2 x Sabro ACs. |
| iv | Outdoor Placement |  | Outdoor units must be placed on specified location as per survey on concrete pads. |
| v | Indoor Placement |  | Indoor Unit must be placed on an iron stand with 6" height from floor, strong enough to bear the weight of AC. |
| vi | Ducting for Gas and Drainage piping | APA | Providing and installation of 2 x 10 meters each, burried G I Ducts (14 guage) with top cover for gas and drain piping on data center floor. |
| vii | Floor cutting & finishing | APA | Floor cutting for concealed G I Duct as per requirement. After ducting, backfilling & finishing of floor with color matching vinyl tiles as per original state is required. |

2.0	SUPPLY & INSTALLATION OF ELECTRICAL ITEMS AT 9TH FLOOR, CUSTOMS HOUSE, KARACHI.

LOT-2:

OPTION-1

| 2.0.1 | Main Power Source |
| --- | --- |
| # | Item Description | Qty | Specifications / Brand |
| i | Circuit Breaker | 1 | 250 Amps-3 Pole, 65 KA, Terasaki |
| ii | Power Cable | 50 Mtr | 50mm-4 Core PVC/PVC, Pakistan Cables |
| iii | PVC Pipe | 50 Mtr | Galco brand to be fitted in structured manner |
| Iv | Cable Lugs | APA | Imported Cable Lugs with rubber jackets as per Color Coding |
| 2.0.2 | Automatic Phase Sequence Correction Panel |
| This panel must be wall mounted, made-up of 16 Gauge GI sheet, Powder coated, Off White outside color, Orange inside color, Single removable door with Imported lock. Inside cabling must be done using a PVC duct in a structured manner. All cable entry and exit must be done using imported cable glands. |
| # | Item Description | Qty | Specifications / Brand |
| i | Circuit Breaker | 1 | 250 Amps-3 Pole, 65 KA, Terasaki |
| ii | Contactors | 2 | 250 Amps-3 Pole, Telemecanique |
| iii | Changeover switch | 2 | 250 Amps-4 Pole, Bremas / Telemecanique |
| iv | Indication Lights | 5 | Imported |
| v | Phase Relay with breaker | 1 | 400 VAC, FANOX-S4 |
| vi | Copper Bus Bars | 5 | Phase wise colored in rubber sleeves |
| vii | Meters with selector | 2 | Digital Voltage and Frequency meters, Imported. |
| viii | Power Cable | 5 Mtr | 50mm-4 Core PVC/PVC, Pakistan Cables |
| ix | Power Cable | 5 Mtr | 25mm-4 Core PVC/PVC, Pakistan Cables |
| x | Cable Lugs | APA | Imported Cable Lugs with rubber jackets as per Color Coding |
| 2.0.3 | Air-conditioners Power Distribution Panel |
| Distribution panel must be wall mounted, made-up of 16 Gauge GI sheet, Powder coated, Off White outside color, Orange inside color, Double removable doors with Imported locks. Inside cabling must be done using a PVC duct in a structured manner. All cable entry and exit must be done using imported cable glands. This panel will serve existing and new air conditioners. Cabling of existing and new ACs need to be done in PVC Pipes in a structured manner. |
| # | Item Description | Qty | Specifications / Brand |
| i | Circuit Breaker | 1 | 250 Amps-3 Pole, 65 KA, Terasaki |
| ii | Circuit Breaker | 1 | 100 Amps-3 Pole, 65 KA, Terasaki |
| iii | Circuit Breaker | 3 | 16 Amps, Single Pole, Hager France |
| iv | Circuit Breaker | 3 | 20 Amps, Single Pole, Hager France |
| v | Circuit Breaker | 14 | 20 Amps, 3 Pole, Hager France |
| vi | Contactors | 14 | 20 Amps, 3 Pole, Telemecanique |
| vii | 24 Hrs Timer | 8 | Hager France |
| viii | H/O Switch (Change-over) | 8 | 32 Amps, Bremas |
| ix | Bus Bars | 5 | Copper Bus bars with Rubber coated color sleeves |
| x | Cable Lugs | APA | Imported Cable Lugs with rubber jackets as per Color Coding |
| 2.0.4 | Power Cabling |
| Power cabling for existing and new air conditioners (Three and Single Phases) is required on turnkey basis including removal of old circuits, DBs and piping with laying of new cables in PVC Pipes in a structured manner using right sized imported copper lugs, where required. |
| # | Item Description | Qty | Specifications / Brand |
| i | Power Cable | APA | 6mm-4 core, PVC/PVC, Pakistan Cables / AGE |
| ii | Ground Cable | APA | 4mm-Single core, Yellow Green Color insulated, Pakistan Cables. |
| iii | Power Cable (Indoor/Outdoor) | APA | 110/76-3 Core, PVC/PVC, Crescent Cables |
| iv | Control Cable | APA | 70/76-3 Core, PVC/PVC, Crescent Cables |
| v | Power Cable for Single Phase ACs | APA | 6mm-3 core, PVC/PVC, Pakistan Cables / AGE |
| vi | Cable Lugs | APA | Imported Cable Lugs with rubber jackets as per Color Coding |

2.1	SUPPLY & INSTALLATION OF ELECTRICAL ITEMS AT 3RD FLOOR, RTO BUILDING, KARACHI.

| 2.1.1 | Main Power Source |
| --- | --- |
| # | Item Description | Qty | Specifications / Brand |
| i | Circuit Breaker | 1 | 150 Amps-3 Pole, 65 KA, Terasaki |
| ii | Power Cable | 80 Mtr | 35mm-4 Core PVC/PVC, Pakistan Cables |
| iii | PVC Pipe | 80 Mtr | Galco brand to be fitted in structured manner |
| Iv | Cable Lugs | APA | Imported Cable Lugs with rubber jackets as per Color Coding |
| 2.1.2 | Automatic Phase Sequence Correction Panel with AC Power Distribution |
| This panel must be wall mounted, made-up of 16 Gauge GI sheet, Powder coated, Off White outside color, Orange inside color, Single removable door with Imported lock. Inside cabling must be done using a PVC duct in a structured manner. All cable entry and exit must be done using imported cable glands. |
| # | Item Description | Qty | Specifications / Brand |
| i | Circuit Breaker | 1 | 150 Amps-3 Pole, 65 KA, Terasaki |
| ii | Contactors | 2 | 150 Amps-3 Pole, Telemecanique |
| iii | Changeover switch | 2 | 150 Amps-4 Pole, Bremas / Telemecanique |
| iv | Indication Lights | 5 | Imported |
| v | Phase Relay with breaker | 1 | 400 VAC, FANOX-S4 |
| vi | Copper Bus Bars | 5 | Phase wise colored in rubber sleeves |
| vii | Meters with selector | 2 | Digital Voltage, Amps and Frequency meters with selector switch, Imported. |
| viii | Circuit Breaker | 1 | 150 Amps-3 Pole, 65 KA, Terasaki |
| ix | Circuit Breaker | 6 | 20 Amps, 3 Pole, Hager France |
| X | Contactors | 6 | 20 Amps, 3 Pole, Telemecanique |
| Xi | 24 Hrs Timer | 3 | Hager France |
| Xii | Circuit Breaker | 3 | 20 Amps, Single Pole, Hager France |
| Xiii | Cable Lugs | APA | Imported Cable Lugs with rubber jackets as per Color Coding |
| 2.1.3 | Power Cabling for Electrical Restructuring |
| Power cabling for existing and new air conditioners (Three and Single Phases) is required on turnkey basis including removal of old circuits, DBs and piping with laying of new cables in PVC Pipes in a structured manner using right sized imported copper lugs, where required. |
| # | Item Description | Qty | Specifications / Brand |
| i | Power Cable | APA | 6mm-4 core, PVC/PVC, Pakistan Cables / AGE |
| ii | Ground Cable | APA | 4mm-Single core, Yellow Green Color insulated, Pakistan Cables. |
| iii | Power Cable (Indoor/Outdoor) | APA | 110/76-3 Core, PVC/PVC, Crescent Cables |
| iv | Control Cable | APA | 70/76-3 Core, PVC/PVC, Crescent Cables |
| v | 20 Amps PDUs with 8 Output Sockets - Class II, IEC Type 53 Connectors | 2 | Required for existing power distribution of UPS outputs for data racks. |
| vi | Power Cable for data racks | 1 Coil | 110/76-3 Core, PVC/PVC, Crescent Cables |
| vii | Cable Lugs | APA | Imported Cable Lugs with rubber jackets as per Color Coding |

LOT-2

OPTION-2

2.0	SUPPLY & INSTALLATION OF ELECTRICAL ITEMS AT 9TH FLOOR, CUSTOMS HOUSE, KARACHI.

| 2.0.1 | Main Power Source |
| --- | --- |
| # | Item Description | Qty | Specifications / Brand |
| i | Circuit Breaker | 1 | 250 Amps-3 Pole, 65 KA, Terasaki |
| ii | Power Cable | 50 Mtr | 50mm-4 Core PVC/PVC, Pakistan Cables |
| iii | PVC Pipe | 50 Mtr | Galco brand to be fitted in structured manner |
| iv | Cable Lugs | APA | Imported Cable Lugs with rubber jackets as per Color Coding |
| 2.0.2 | Manual Phase Sequence Correction Panel |
| This panel must be wall mounted, made-up of 16 Gauge GI sheet, Powder coated, Off White outside color, Orange inside color, Single removable door with Imported lock. Inside cabling must be done using a PVC duct in a structured manner. All cable entry and exit must be done using imported cable glands. |
| # | Item Description | Qty | Specifications / Brand |
| i | Circuit Breaker | 1 | 250 Amps-3 Pole, 65 KA, Terasaki |
| ii | Changeover switch | 1 | 250 Amps-4 Pole, Bremas / Telemecanique |
| iii | Indication Lights | 3 | Imported |
| iv | Copper Bus Bars | 5 | Phase wise colored in rubber sleeves |
| v | Meters with selector | 2 | Digital Voltage and Frequency meters, Imported. |
| vi | Power Cable | 5 Mtr | 50mm-4 Core PVC/PVC, Pakistan Cables |
| vii | Power Cable | 5 Mtr | 25mm-4 Core PVC/PVC, Pakistan Cables |
| viii | Cable Lugs | APA | Imported Cable Lugs with rubber jackets as per Color Coding |
| 2.0.3 | Air-conditioners Power Distribution Panel |
| Distribution panel must be wall mounted, made-up of 16 Gauge GI sheet, Powder coated, Off White outside color, Orange inside color, Double removable doors with Imported locks. Inside cabling must be done using a PVC duct in a structured manner. All cable entry and exit must be done using imported cable glands. This panel will serve existing and new air conditioners. Cabling of existing and new ACs need to be done in PVC Pipes in a structured manner. |
| # | Item Description | Qty | Specifications / Brand |
| i | Circuit Breaker | 1 | 250 Amps-3 Pole, 65 KA, Terasaki |
| ii | Circuit Breaker | 1 | 100 Amps-3 Pole, 65 KA, Terasaki |
| iii | Circuit Breaker | 3 | 16 Amps, Single Pole, Hager France |
| iv | Circuit Breaker | 3 | 20 Amps, Single Pole, Hager France |
| v | Circuit Breaker | 14 | 20 Amps, 3 Pole, Hager France |
| vi | Bus Bars | 5 | Copper Bus bars with Rubber coated color sleeves |
| vii | Cable Lugs | APA | Imported Cable Lugs with rubber jackets as per Color Coding |
| 2.0.4 | Power Cabling |
| Power cabling for existing and new air conditioners (Three and Single Phases) is required on turnkey basis including removal of old circuits, DBs and piping with laying of new cables in PVC Pipes in a structured manner using right sized imported copper lugs, where required. |
| # | Item Description | Qty | Specifications / Brand |
| i | Power Cable | APA | 6mm-4 core, PVC/PVC, Pakistan Cables / AGE |
| ii | Ground Cable | APA | 4mm-Single core, Yellow Green Color insulated, Pakistan Cables. |
| iii | Power Cable (Indoor/Outdoor) | APA | 110/76-3 Core, PVC/PVC, Crescent Cables |
| iv | Control Cable | APA | 70/76-3 Core, PVC/PVC, Crescent Cables |
| v | Power Cable for Single Phase ACs | APA | 6mm-3 core, PVC/PVC, Pakistan Cables / AGE |
| vi | Cable Lugs | APA | Imported Cable Lugs with rubber jackets as per Color Coding |

2.1	SUPPLY & INSTALLATION OF ELECTRICAL ITEMS AT 3RD FLOOR, RTO BUILDING, KARACHI.

| 2.1.1 | Main Power Source |
| --- | --- |
| # | Item Description | Qty | Specifications / Brand |
| i | Circuit Breaker | 1 | 150 Amps-3 Pole, 65 KA, Terasaki |
| ii | Power Cable | 80 Mtr | 35mm-4 Core PVC/PVC, Pakistan Cables |
| iii | PVC Pipe | 80 Mtr | Galco brand to be fitted in structured manner |
| Iv | Cable Lugs | APA | Imported Cable Lugs with rubber jackets as per Color Coding |
| 2.1.2 | Manual Phase Sequence Correction Panel with AC Power Distribution |
| This panel must be wall mounted, made-up of 16 Gauge GI sheet, Powder coated, Off White outside color, Orange inside color, Single removable door with Imported lock. Inside cabling must be done using a PVC duct in a structured manner. All cable entry and exit must be done using imported cable glands. |
| # | Item Description | Qty | Specifications / Brand |
| i | Circuit Breaker | 1 | 150 Amps-3 Pole, 65 KA, Terasaki |
| Ii | Changeover switch | 1 | 150 Amps-4 Pole, Bremas / Telemecanique |
| iii | Indication Lights | 3 | Imported |
| Iv | Copper Bus Bars | 5 | Phase wise colored in rubber sleeves |
| V | Meters with selector | 2 | Digital Voltage, Amps and Frequency meters with selector switch, Imported. |
| vi | Circuit Breaker | 1 | 150 Amps-3 Pole, 65 KA, Terasaki |
| vii | Circuit Breaker | 6 | 20 Amps, 3 Pole, Hager France |
| viii | Circuit Breaker | 3 | 20 Amps, Single Pole, Hager France |
| Ix | Cable Lugs | APA | Imported Cable Lugs with rubber jackets as per Color Coding |
| 2.1.3 | Power Cabling for Electrical Restructuring |
| Power cabling for existing and new air conditioners (Three and Single Phases) is required on turnkey basis including removal of old circuits, DBs and piping with laying of new cables in PVC Pipes in a structured manner using right sized imported copper lugs, where required. |
| # | Item Description | Qty | Specifications / Brand |
| i | Power Cable | APA | 6mm-4 core, PVC/PVC, Pakistan Cables / AGE |
| ii | Ground Cable | APA | 4mm-Single core, Yellow Green Color insulated, Pakistan Cables. |
| iii | Power Cable (Indoor/Outdoor) | APA | 110/76-3 Core, PVC/PVC, Crescent Cables |
| iv | Control Cable | APA | 70/76-3 Core, PVC/PVC, Crescent Cables |
| v | 20 Amps PDUs with 8 Output Sockets - Class II, IEC Type 53 Connectors | 2 | Required for existing power distribution of UPS outputs for data racks. |
| vi | Power Cable for data racks | 1 Coil | 110/76-3 Core, PVC/PVC, Crescent Cables |
| vii | Cable Lugs | APA | Imported Cable Lugs with rubber jackets as per Color Coding |

LOT-3:

3.0	SUPPLY, INSTALLATION & RESTRUCTURING OF GLASS PARTITION AT 9TH FLOOR, CUSTOMS HOUSE, KARACHI & 3RD FLOOR, RTO BUILDING, KARACHI.

| 3.1 | Glass Partitioning |
| --- | --- |
| # | Item Description | Qty | Specifications / Brand |
| i | New Partition | 162 Sft | Installation of new aluminum / glass partition using 8mm non-glare, clear type glass mounted with gaskets. |
| ii | Sliding Doors | 3 | Supply and installation of 8mm non-glare, clear type glass sliding doors with aluminum frame using imported rollers and imported door locks. 1 Glass door is required in the new partition and 2 glass doors are required in existing partitions. All glass doors must be fitted with rubber gaskets. |
| iii | Existing Partition Re-adjustment |  | Alteration and re-adjustment of existing partitions as per requirement. |

LOT 4: SUPPLY & INSTALLATION OF FLOOR STANDING – SPLIT TYPE AIR

CONDITIONERS AT DATA CENTER, CDA BLOCK III, ISLAMABAD

| 4.1 | 3 Phase Split Type Air-Conditioners |
| --- | --- |
| # | Item Description | Qty | Specifications / Brand |
|  | Supply of Floor Standing AC 4.0 Tons with capacity of 48000 BTU. (Floor Standing Unit) | 4 Units | Mitsubishi Electric or equivalent ACs must be able to provide 48000 BTU cooling capacity with Auto ON circuit including standard allied accessories, installation kit, catalogues / manuals. Standard manufacturer's warranty terms must be clearly mentioned. |
|  | Outdoor Placement |  | Outdoor units must be placed on concrete pads. |
|  | Installation | 4 Jobs | Turnkey Installation including, copper piping, insulation, PVC drain piping, interconnected electrical wiring, power cabling from indoor to outdoor unit circuit breakers, testing & commissioning |

ANNEXURE-B

EXISTING AND PROPOSED LAYOUTS OF DATA CENTERS

9TH FLOOR CUSTOM HOUSE

Existing Data Center Layout:

Proposed Data Center Layout:

3RD FLOOR RTO KARACHI

Existing Data Center Layout:

Proposed Data Center Layout:

Note (Specific Terms and Conditions):

- There are 2 Options presented in the BOQ for Electrical items (Lot 2). Vendors are requested to provide costing for both options in Lot 2 separately. PRAL will choose which option to go for specific LOT. Any bids submitted without both options will be considered non-responsive and thus would be rejected.

- Vendors are requested to perform sites survey in coordination with Malik Nasir Abbass, Manager (Infrastructure) PRAL, Islamabad Cell # 0321-5371151 and Syed Zafaryab Zaidi, Manager (Infrastructure-South) PRAL, Karachi Cell # 0323-5449943 for exact measurements and determination of scope of work.

- Installation charges must be quoted separately.

- Any damage to existing infrastructure must be on vendor’s part and vendor is required to repair / replace the damage property as per the satisfaction of PRAL.

- Warranty for air conditioners must be provided in accordance with manufacturer’s provided warranty at on-site. Any fault / repair / replacement must be provided within 24 hours.

- Warranty for electrical items must be provided for a period of six months. Any fault / repair / replacement must be provided within 24 hours.

- PRAL reserve the right to check the originality of supplied parts and accessories. Any objection in the supplied parts / accessories must be addressed to the satisfaction of PRAL.

- Vendors are encouraged to study the BOQ of electrical items and the scope of work. Any change / alteration required to increase the efficiency of system, must be addressed well before time.

- Project completion timelines are 2 weeks from the date of issuance of PO/WO. All activities must be carried out in parallel. There is a penalty associated with the delay in project from the specified completion timelines. 5% of total project cost will be deducted if a project is delayed for 1 week, 10% is the project is delayed 2 weeks. Any further delay will result in the cancellation of the project.

- The tender is on LOT basis and the vendors are free to quote single or multiple LOTS. The decision will be made on LOT basis.

ANNEXURE-"C"

BIDDING FORM

##### Dated07/10/2010			    Tender No.P-31/2010

Pakistan Revenue Automation (Pvt.) Limited, Islamabad.

Gentlemen,

1.	Having examined the conditions to Tender and Specifications of Tender No.P-31/2010 dated 07/10/2010 the receipt of which is hereby acknowledged we, the undersigned, offer to install, supply and deliver in conformity with specifications mentioned in Annexure “A” and conditions of Tender for the sum of Rs._________________________ (Rupees ______________________________ ) or such other sums as may be ascertained in accordance with the said Conditions.

2.	If our Bid is accepted we shall deliver the equipment mentioned in the tender documents within ______ days from the date of receipt of your firm Purchase Order.

3.	We agree to abide by the terms and conditions of the Tender for the period of _______ from the date fixed for receiving the same and it shall remain binding upon us and may be accepted at any time before the expiration of that period.

4.	Until a formal Purchase order(s) is placed, this Bid, together with your written acceptance thereof, shall constitute a binding contract between us.

5.	We understand that you are not bound to accept the lowest or any proposal you may receive or to inform us of the rejection of our bid or to give any reasons therefor.

Dated this ______________________ day of ______________________________ 2010_______________.

Signature _______________________ in the capacity of ______________________________ duly authorized to sign Tender for and on behalf of

_____________________________________________________________________________________

(NAME OF FIRM IN BLOCK CAPITALS)

Complete address:________________________________________________________________________

Fax No.____________________________ Telephone No.______________________________________

______________________

( SIGNATURE )

Witness:-

1.	_______________________

2.	_______________________