PAKISTAN REVENUE AUTOMATION (PVT.) LIMITED

Invitation for Bids

Ref. Admin/P&D-Cabling/PRAL/HQs/2009		     		       	         May 21, 2010

Subject:	TENDER NO. ADMN(G-04-1)/2010 DATED 21/05/2010 FOR ESTABLISHMENT OF EXTENSION AREA AT HOUSE # 14, F-6/3, ISLAMABAD

1.	Pakistan Revenue Automation (Pvt.) Ltd. (hereinafter called PRAL/Purchaser) invites sealed bids for the establishment of extension area to the main building located at House # 14, F-6/3, Islamabad as per detail / specifications described in the BOQ “Annexure- A”.

2.	All Government Taxes shall be deducted as per law.

3.	PRAL reserves the right to increase or decrease the quantity of the items given in the BOQ, accept or reject any bid to be received against this tender inquiry, annul the bidding process and reject all bids at any time prior to award of Contract (s) without thereby incurring any liability to the affected Bidder or Bidders or any obligation to inform the affected Bidder or of the grounds for PRAL’s action.

4.	DELIVERY SCHEDULE

The establishment of the extension area is required on most urgent basis. So the lowest technical compliant bidder may be in a position to supply and install the order material as immediately as possible after award of the contract.

5.	PENALTY:

For failure to comply with the delivery schedule of Purchase Order (s), to be issued against this tender documents penalty will be imposed on defaulting Supplier as under:

5.1	1% of the cost of entire purchase order or of such item as remains un-supplied/un-completed for every day up to maximum of 5% for 10 days exceeding the delivery period.

5.2	If the item is not supplied even after payment of penalty for 10 consecutive days PRAL reserves the right to cancel the purchase order and to purchase required equipment from elsewhere at risk and cost of the defaulting Supplier.

6.	Quoted prices must be inclusive of all taxes (Income Tax and Sales Tax), indicating unit price and total bid price.

7.	Price must be quoted including all charges like handling, loading, transportation, unloading of the material.

8.	Bidding Form Annexure “B” must also be duly filled in, stamped and signed by authorized representative of the bidder.

9.	Quoted price shall be valid for 120 days from the opening date of the bids. However, any subsequent change in taxes and duties as notified by Federal Board of Revenue will be given due consideration.

10.	PAYMENT:

100% payment of the total value of the bill/purchase order will be released subject to Completion of the delivery of the equipment in accordance with the specifications mentioned in this tender document or Work Order to be issued against this tender and submission of bank guarantee as described under clause “17” of the tender documents.

11.	SEALING AND MARKING OF BIDS.

11.1	The bids shall be submitted in sealed envelope marked as under:

MANAGER (ADMINISTRATION)

PAKISTAN REVENUE AUTOMATION (Pvt.) LIMITED

HOUSE # 15, STREET # 19, F-6/2, ISLAMABAD.

11.2	The envelopes shall also bear the word “CONFIDENTIAL” and following identifications:-

BID NO. ADMN(G-04-1)/2010

For the Establishment of Extension Area

12.	DEADLINE FOR SUBMISSION OF BIDS:

All bids must be delivered in the Office of undersigned on or before the prescribed deadline of 1100 hours on 14/06/2010.

13.	OPENING OF BIDS:

The Purchaser will open the bids in the presence of bidder representatives who choose to attend at 1130 hours on 14/06/2010 at the below mentioned address.

14.	WARRANTY

14.1	The Supplier shall warrant that all equipment supplied against the Purchase Order (s) shall have no defect arising from design, materials or workmanship or from any act or omission of the Supplier, that may develop under normal use of the supplied items under the conditions prevailing at final destination.

14.2	Period of Warranty and maintenance with labour and material cost shall be SIX Months.

During warranty period the supplier will be responsible to repair/replace the faulty item (s) on installation place free of cost within 24 hours after occurrence of fault

15.	PRAL reserves the right to accept or reject any bid and to annul the bidding process and reject all bids at any time prior to award of Contract (s) without thereby incurring any liability to the affected Bidder or Bidders or any obligation to inform the affected Bidder or of the grounds for PRAL’s action.

16.	If you have any doubt as to the meaning of any portion of the technical specifications, you may seek clarification of the same from Syed Mubashir Hussain Shah, Administrative Officer, 5th floor, Evacuee Trust Complex, Islamabad. Cell # 0323-5159233.

## 17.	BANK GUARANTEE

After completion and acceptance of the Project by PRAL, the bidder will have to provide the Bank Guarantee, being 10% of the total value of the bill/Contract, issued by renowned Schedule Bank, for the warranty/maintenance period to be offered. In case the supplier failed to provide the Bank Guarantee 10% of the total bill value shall be retained by PRAL for the successful completion of warranty period. The Bank Guarantee shall be released after successful completion of warranty period. In case the supplier failed to complete the warranty period successfully then the retained value/bank guarantee shall be forfeited in favour of PRAL.

18.	EARNEST MONEY:

The Bidder shall furnish as part of his bid, a Call Deposit/Pay Order equivalent to 2% of the Quarterly cost as Earnest Money crossed in favour of “Pakistan Revenue Automation (Pvt.) Ltd.”. Any bid not accompanied by Earnest Money shall be rejected without any right of appeal. In case of cancellation of the contract as default of the successful bidder (s) the earnest money shall be forfeited in favour of PRAL.

19.	All bids should include:

19.1	Company/firm name with complete address with detail landline number, fax, etc

19.2	Company’s profile, list of clients with their telephone number and address;

19.3	Copies of Income Tax and Sales Tax registration certificates; and

19.4	Earnest money as per clause 18 of the tender documents.

20.	The bidders are required to quote ITEM WISE and LOT WISE rates. PRAL will reserve the right to award contract for item wise or lot wise or go for the total solution

.

# (SOHAIL AKHTAR)

Manager (Administration.)

House # 15, Street # 19, F-6/2, Islamabad.

Phone:	9208687

ANNEXURE-A

SCHEDULE OF REQUIREMENT

TENDER # ADMN(G-04-1)/2010 DATED 21/05/2010

| PRAL Office , Hill Road, House No-14 |
| --- |
| G.Floor Open Area Office |
| LOT 01 |  |  |
| S.No | Description | Qty | Unit |
| 1 | Canopy: Providing and fixing of canopy, Using material for canopy Frame MS Pipe 1" x 1/1/2" standard and Pillars also in MS pipe, frame covered with 2-layer fiber sheet. Complete in all respect. (Size: 18'-0" x 45'-0") | 810 | Sft |
| 2 | Gypsum False Ceiling: P/F CKM Tee and angles with 2'x2' DFB gypsum sheets, elefoil pattern i/c cutting of holes etc, complete in all respects. | 756 | Sft |
| 3 | Brick Masonry Walls:New walls to be constructed by 4/1/2" bricks with 1:6 cemented material with plaster, complete in all respects at ground floor, | 18 | Sft |
| 4 | Carpet: P/L in position best quality synthetic nayyar / united / equliant carpet in the area, complete in all respects. | 756 | Sft |
| 5 | Frame Work: Providing and making frame for reinforcement for glass partition using MS pipe 1" x 1/1/2" standard upside the ceiling till canopy and single sides covered with 2-layer fiber sheet, complete in all respect.(Size: 1'-0" x 18'-0") | 18 | Sft |
| 6 | 12mm Glass partition: Supply and installation of 12mm local clear plain edged glass partition with aluminum D-48 Silver channel up and down sides both, complete in all respect | 123 | Sft |
| 7 | 12mm Glass Door: Supply and istallation of 12mm glass door with handle, lock, floor machine and all necessary hardware with Aluminium silver channel up and down sides, complete in all respect. | 21 | Sft |
| 8 | Vertical Blinds: Providing & Installation of verticle blinds of approved colour & Size. Complete in all respect | 124 | Sft |
| 9 | Wall Cladding:Cladding on wall a in 11mm lassani with partal wood frame , complete in all respect | 400 | Sft |
| 10 | Emulsion Paint work: Providing and applying emulsion paint of ICI / Robialac in approved colour shade on wooden partitions & including base preparing for smooth finishing, complete in all respects. | 950 | Sft |

| F.Floor Back side Round terace Office |
| --- |
| Lot 02 |  |  |
| S.No | Description | Qty | Unit |
| 1 | Canopy: Providing and fixing of canopy, Using material for canopy Frame(2X2 spacing center to center) MS Pipe 1" x 1/1/2" standard and Pillars also in MS pipe, frame covered with 2-layer fiber sheet. Complete in all respect. (Size: 33'-0" x 26'-0") | 858 | Sft |
| 2 | Gypsum False Ceiling: P/F CKM Tee and angles with 2'x2' DFB gypsum sheets, elefoil pattern i/c cutting of holes etc, complete in all respects. | 600 | Sft |
| 3 | Carpet: P/L in position best quality synthetic nayyar / united / equliant carpet in the area, complete in all respects. | 600 | Sft |
| 4 | Frame Work: Providing and making frame for reinforcement for glass partition using MS pipe 1" x 1/1/2" standard upside the ceiling till canopy and single sides covered with 2-layer fiber sheet, complete in all respect.(Size: 5'-0" x 73'-0") | 377 | Sft |
| 5 | 12mm Glass partition: Supply and installation of 12mm local clear plain edged glass partition with aluminum D-48 Silver channel up and down sides both, complete in all respect | 584 | Sft |
| 6 | Vertical Blinds: Providing & Installation of verticle blinds of approved colour & Size. Complete in all respect | 590 | Sft |
| 7 | Emulsion Paint work: Providing and applying emulsion paint of ICI / Robialac in approved colour shade ncluding base preparing for smooth finishing, complete in all respects. | 300 | Sft |
| 8 | 12mm Glass Door: Supply and istallation of 12mm glass door with handle, lock, floor machine and all necessary hardware with Aluminium silver channel up and down sides, complete in all respect. | 21 | Sft |

| F.Floor Right side Center terace Office |
| --- |
| LOT 3 |  |  |
| S.No | Description | Qty | Unit |
| 1 | Dismantling Work: Dismantling of wall and windows size 10' x 8' with repairing and malba carried out side the buliding | 80 | Sft |
| 2 | Canopy: Providing and fixing of canopy, Using material for canopy Frame(2x2 spacing center to center) MS Pipe 1" x 1/1/2" standard and Pillars also in MS pipe, frame covered with 2-layer fiber sheet. Complete in all respect. (Size: 20'-0" x 26'-0") | 520 | Sft |
| 3 | RCC Slab Work: Providing and fixing of RCC ready made slab size: 5' x 20' | 100 | Sft |
| 4 | Gypsum False Ceiling: P/F CKM Tee and angles with 2'x2' DFB gypsum sheets, elefoil pattern i/c cutting of holes etc, complete in all respects. | 391 | Sft |
| 5 | Carpet: P/L in position best quality synthetic nayyar / united / equliant carpet room area, complete in all respects. | 391 | Sft |
| 6 | Frame Work: Providing and making frame for reinforcement for glass partition using MS pipe 1" x 1/1/2" standard upside the ceiling till canopy and single sides covered with 2-layer fiber sheet, complete in all respect.(Size: 5'-0" x 17'-0") | 85 | Sft |
| 7 | 12mm Glass partition: Supply and installation of 12mm local clear plain edged glass partition with aluminum D-48 Silver channel up and down sides both, complete in all respect | 136 | Sft |
| 8 | Vertical Blinds: Providing & Installation of vertical blinds of approved colour & Size. Complete in all respect | 140 | Sft |
| 9 | Emulsion Paint work: Providing and applying emulsion paint of ICI / Robialac in approved colour shade including base preparing for smooth finishing, complete in all respects. | 800 | Sft |
| 10 | 12mm Glass Door: Supply and installation of 12mm glass door with handle, lock, floor machine and all necessary hardware with Aluminum silver channel up and down sides, complete in all respect. | 21 | Sft |

ANNEXURE-"B"

BIDDING FORM

##### Dated 21/05/2010						    Tender No.ADMN(G-04-1)/2010

Pakistan Revenue Automation (Pvt.) Limited, Islamabad.

Gentlemen,

1.	Having examined the conditions to Tender and Specifications of Tender No.ADMN(G-04-1)/2010 dated 21/05/2010 the receipt of which is hereby acknowledged we, the undersigned, offer to install, supply and deliver in conformity with specifications mentioned in Annexure “A” and conditions of Tender for the sum of Rs._________________________ (Rupees ______________________________ ) or such other sums as may be ascertained in accordance with the said Conditions.

2.	If our Bid is accepted we shall deliver the equipment mentioned in the tender documents within ______ days from the date of receipt of your firm Purchase Order.

3.	We agree to abide by the terms and conditions of the Tender for the period of _______ from the date fixed for receiving the same and it shall remain binding upon us and may be accepted at any time before the expiration of that period.

4.	Until a formal Purchase order(s) is placed, this Bid, together with your written acceptance thereof, shall constitute a binding contract between us.

5.	We understand that you are not bound to accept the lowest or any proposal you may receive or to inform us of the rejection of our bid or to give any reasons therefor.

Dated this ______________________ day of ______________________________ 2010_______________.

Signature _______________________ in the capacity of ______________________________ duly authorized to sign Tender for and on behalf of

_____________________________________________________________________________________

(NAME OF FIRM IN BLOCK CAPITALS)

Complete address:________________________________________________________________________

Fax No.____________________________ Telephone No.______________________________________

______________________

( SIGNATURE )

Witness:-

1.	_______________________

2.	_______________________