PAKISTAN REVENUE AUTOMATION (PVT.) LIMITED

Invitation for Bids

Ref. Admin/Electrical/PRAL/KHI/2012		     	 	       	                   	                                July 05, 2012

Subject:	TENDER NO. P-18/2012 DATED 05/07/2012 FOR SUPPLY OF ELECTRICAL AND NETWORKING ITEMS (AT KARACHI) AS DETAILED IN SCHEDULE OF REQUIREMENT ANNEXURE “A” & “B”

1.	Pakistan Revenue Automation (Pvt.) Ltd. (hereinafter called PRAL/Purchaser) invites sealed bids for supply of Electrical & Networking Items (at Karachi) as per detail given in Schedule of Requirement Annexure “A” & “B”

2.	All Government Taxes shall be deducted as per law.

3.	PRAL reserves the right to increase or decrease the quantity of the items given in the Schedule of Requirement (Annexure “A” & “B”), accept or reject any bid to be received against this tender inquiry, annul the bidding process and reject all bids at any time prior to award of Contract (s) without thereby incurring any liability to the affected Bidder or Bidders or any obligation to inform the affected Bidder or of the grounds for PRAL’s action.

4.	DELIVERY SCHEDULE

The supply of the electrical & networking items given in the Schedule of Requirement (Annexure “A & “B”) is required on most urgent basis. So the lowest technical compliant bidder may be in a position to supply the order material as immediately as possible. Delivery Period must be quoted clearly.

5.	PENALTY:

For failure to comply with the delivery schedule of Purchase Order (s), to be issued against this tender documents penalty will be imposed on defaulting Supplier as under:

5.1	1% of the cost of entire purchase order or of such item as remain un-supplied/un-completed for every day up to maximum of 5% for 10 days exceeding the delivery period.

5.2	If the item is not supplied even after payment of penalty for 10 consecutive days PRAL reserves the right to cancel the purchase order and to purchase required equipment from elsewhere at risk and cost of the defaulting Supplier.

6.	Quoted prices must be inclusive of all taxes (Income Tax and Sales Tax), indicating unit price and total bid price.

7.	Price must be quoted including all charges like handling, loading, transportation, unloading of the material at PRAL office in Karachi. Quoted prices must also be inclusive of cost for the free maintenance of equipment on installation site during warranty period.

8.	Bidding Form Annexure “C” must also be duly filled in, stamped and signed by authorized representative of the bidder.

9.	Quoted price shall be valid for 120 days from the opening date of the bids. However, any subsequent change in taxes and duties as notified by Federal Board of Revenue will be given due consideration.

10.	PAYMENT:

100% payment of the total value of the bill/purchase order will be released subject to Completion of the delivery of the electrical & networking items in accordance with the specifications mentioned in this tender document or Purchase Order(s) to be issued against this tender.

11.	SEALING AND MARKING OF BIDS.

11.1	The bids shall be submitted in sealed envelope marked as under:

MANAGER (PROCUREMENT)

PAKISTAN REVENUE AUTOMATION (Pvt.) LIMITED

HOUSE # 2-A, EMBASSY ROAD, SECTOR G-6/4, ISLAMABAD.

11.2	The envelopes shall also bear the word “CONFIDENTIAL” and following identifications:-

BID NO. P-18/2012 DATED 05-07-2012

For Supply of Electrical & Networking Items.

12.	DEADLINE FOR SUBMISSION OF BIDS:

All bids must be delivered in the Office of undersigned on or before the prescribed deadline of 1100 hours on 20/07/2012.

13.	OPENING OF BIDS:

The Purchaser will open the bids in the presence of bidder representatives who choose to attend at 1130 hours on 20/07/2012 at the below mentioned address.

14.	WARRANTY

14.1	The Supplier shall warrant that all equipment supplied against the Purchase Order (s) shall have no defect arising from design, materials or workmanship or from any act or omission of the Supplier, that may develop under normal use of the supplied items under the conditions prevailing at final destination.

15.	EARNEST MONEY:

The Bidder shall furnish as part of his bid, a Call Deposit/Pay Order equivalent to 2% of the total bid value as Earnest Money crossed in favour of “Pakistan Revenue Automation (Pvt.) Ltd.”. Any bid not accompanied by Earnest Money shall be rejected without any right of appeal. In case of cancellation of Purchase Order as default of the Supplier the earnest money shall be forfeited in favour of PRAL.

16.	PRAL reserves the right to accept or reject any bid and to annul the bidding process and reject all bids at any time prior to award of Contract (s) without thereby incurring any liability to the affected Bidder or Bidders or any obligation to inform the affected Bidder or of the grounds for PRAL’s action.

17.	If you have any doubt as to the meaning of any portion of the technical specifications, you may seek clarification of the same from Muhammad Shoaib, Power Engineer, PRAL Cell # 03453075211.

18.	All bids should include:

18.1	Company’s profile, list of clients with their telephone number and address;

18.2	Copies of Income Tax and Sales Tax registration certificates;

18.3	Pay order, being 2% of the total bid value.

.

# (SOHAIL AKHTAR)

Manager (Procurement.)

House # 2-A, Embassy Road, Sector G-6/4, Islamabad

Phone:	051-9208687, 051-9210030

ANNEXURE-A

SCHEDULE OF REQUIREMENT

TENDER # P-18/2012 DATED 05/07/2012

ELELTRICAL ITEMS FOR PRAL OFFICE, KARACHI

| S/NO. | Description | Quantity |
| --- | --- | --- |
| 1. | Universal Plug with PVC back box (aqua china) | 42 Pcs |
| 2. | PVC Duct 1.5” x 1.5” Adamjee | 25 Pcs |
| 3. | Power plug round pin with PVC back box 30 Amp (Bosh) | 05 Pcs |
| 4. | Wire 2.5 MM (3 red, 3 black) (Pakistan / HM cable) Single Core | 06 Rolls |
| 5. | Wire 1.5 mm (green color) (Pakistan / HM cable) Single Core | 04 Rolls |
| 6. | Wire 4 mm (3 red, 2 black) (Pakistan / HM cable) Single Core | 05 Rolls |
| 7. | PVC Gitti 10 number size | 10 Large Packets |
| 8. | Wooden Screw 8 number thickness 1-1/4 length | 08 Packets |
| 9. | PVC Tape (2 red, 2 yellow, 2 blue, 2 black | 08 Packets |
| 10 | PVC Cable 4 core 16 mm (Main Power) | 80 Ft |
| 11 | PVC Pipe 1.5” inch | 08 Pcs |
| 12 | PVC Socket 1.5” | 12 Pcs |
| 13. | PVC band 1.5” | 06 Pcs |
| 14. | Flexible Pipe 1.5” | 20 Ft |
| 15. | Flexible Pipe 1” | 20 Ft |
| 16. | C.I Saddles 1.5” | 48 Pcs |
| 17. | Wooden Screw 8 number thickness 2” length | 01 Packet |
| 18. | Copper Lugs 16mm | 20 Pcs |
| 19. | Power Distribution Box Panel 900x600x150mm | 01 Pc |
| 20. | Breaker 3 pole (MCCB) 100 Amp (Terasaki) | 01 Pc |
| 21. | Breaker 2 pole (MCB) 32 Amp (Hager/MG) | 03 Pcs |
| 22. | Breaker 3 pole (MCB) 63 Amp (Hager / MG) | 03 Pcs |
| 23. | Breaker single pole (MCB) 20 Amp (Hager / MG) | 06 Pcs |
| 24. | Breaker single pole (MCB) 10 Amp (Hager / MG) | 06 Pcs |
| 25. | Selector Switch (1-0-2) 2 pole 32 Amp (Breter) | 02 Pcs |
| 26. | Anchor Bolt 8mm (Panel Hanger) | 08 Pcs |
| 27. | Cable Tie 10” | 02 Packets |
| 28. | Drill Bit Mattel 3mm | 02 Pcs |
| 29. | Tup 5/32 (Hardware Item) | 02 Pcs |
| 30. | Screws 5/32 x 4 | 10 Pcs |

ANNEXURE-B

SCHEDULE OF REQUIREMENT

TENDER # P-18/2012 DATED 05/07/2012

NETWORKING ITEMS FOR PRAL OFFICE, KARACHI

| S/NO. | Description | Quantity |
| --- | --- | --- |
| 1. | CAT 6 Cable Roll 3m | 02 Boxes |
| 2. | I/O Clipsal | 16 Pcs |
| 3. | Face Plates with back box Clipsal | 16 Pcs |
| 4. | Lan Tester | 1 Pcs |
| 5. | RJ 45 Connector (cat 6) AMP | 1 Box |
| 6. | Cable Tie 5” | 1 Packet |
| 7. | Cable Tie 08” | 1 Packet |
| 8. | Flexible Pipe (Size 2”) | 10 Meter |
| 9. | Channel Patti Adajmee Size 1 ½ x 1 ½ | 25 Pcs |
| 10 | Crimping Tool | 01 Pc |
| 11 | Knife Cutter | 01 Pc |

ANNEXURE-"C"

BIDDING FORM

##### Dated 05/07/2012						    Tender No.P-18/2012

Pakistan Revenue Automation (Pvt.) Limited, Islamabad.

Gentlemen,

1.	Having examined the conditions to Tender and Specifications of Tender No.P-18/2012 dated 05/07/2012 the receipt of which is hereby acknowledged we, the undersigned, offer to install, supply and deliver in conformity with specifications mentioned in Annexure “A” & “B” and conditions of Tender for the sum of Rs._________________________ (Rupees ______________________________ ) or such other sums as may be ascertained in accordance with the said Conditions.

2.	If our Bid is accepted we shall deliver the equipment mentioned in the tender documents within ______ days from the date of receipt of your firm Purchase Order.

3.	We agree to abide by the terms and conditions of the Tender for the period of _______ from the date fixed for receiving the same and it shall remain binding upon us and may be accepted at any time before the expiration of that period.

4.	Until a formal Purchase order(s) is placed, this Bid, together with your written acceptance thereof, shall constitute a binding contract between us.

5.	We understand that you are not bound to accept the lowest or any proposal you may receive or to inform us of the rejection of our bid or to give any reasons therefor.

Dated this ______________________ day of ______________________________ 2012_______________.

Signature _______________________ in the capacity of ______________________________ duly authorized to sign Tender for and on behalf of

_____________________________________________________________________________________

(NAME OF FIRM IN BLOCK CAPITALS)

Complete address:________________________________________________________________________

Fax No.____________________________ Telephone No.______________________________________

______________________

( SIGNATURE )

Witness:-

1.	_______________________

2.	_______________________