SHORT TENDER NOTICE NO.P-36/2012

PURCHASE OF NETWORK EQUIPMENT AND ANCILLARIES

Sealed bids are invited from the firms having registration with the Sales Tax and Income Tax Departments for urgent supply/installation & commissioning of Network Equipment and Ancillaries. Detail Tender Documents may be obtained from the office of undersigned (during working hours) or download from www.ppra.org.pk or www.pral.com.pk from 27/11/2012 to 12/12/2012. Last date for submission of the bids is 12/12/2012 on or before 1200 hours. Bids shall be opened on the same day at 1230 hours.

Manager (Procurement)

House # 2-A, Embassy Road, Sector G-6/4, Islamabad

Ph # 051-9208687.

SUPPLY, INSTALLATION & COMMISSIONING OF NETWORK EQUIPMENT AND ANCILLARIES FOR DATA CENTERS AT KARACHI & ISLAMABAD

Pakistan Revenue Automation (Pvt.) Ltd.

TENDER NO.P-36/2012

DATED __27-11-2012________

Bid Submission on 12-12-2012________

TENDER DOCUMENT

Pakistan Revenue Automation Pvt. Limited

# Ref: Proc/Network Rack/Ancillaries/2012				Islamabad, November 27, 2012

Subject:	TENDER NO.P-36/2012 FOR THE SUPPLY / INSTALLATION & COMMISSIONING OF NETWORK EQUIPMENT AND ANCILLARIES FOR DATA CENTERS AT KARACHI & ISLAMABAD

1.	Pakistan Revenue Automation Pvt. Limited (hereinafter called PRAL/Purchaser) invites sealed bids for the for the supply / installation & commissioning of Network Equipment and Ancillaries for Data Centers at Karachi & Islamabad as per detail given in Schedule of Requirement at  Annexure-“A”.

2.	If you have doubt as to the meaning of any portion of the specifications or other terms and conditions you may seek clarification of the same in writing from Malik Nasir Abbas, Manager (Infrastructure) PRAL, Islamabad- Cell # 0321-5371151 and Mr. Noman Siddique, Manager (Infrastructure) PRAL Karachi-Cell # 0321-2594509.

3.	PRAL reserves the right to increase or decrease the quantity, annul the bidding process and accept or reject any or all bids for which reasons on request shall be communicated to the concerned bidder.

4.	Income Tax / Withholding Tax will be deducted in accordance with the law. Kindly note that the Sales Tax shall also be deducted in accordance with the law.

5.	DELIVERY SCHEDULE

The delivery/installation/ & commissioning/configuration etc of the equipment mentioned in Schedule of Requirement Annexure “A” is required within six (06) 6 weeks (in Islamabad & Karachi) after award of the contract(s) to be issued against this tender inquiry. So the lowest technical complaint bidder may be in a position to complete delivery, installation, testing commissioning and configuration etc within the given time frame.

6.	PENALTY:

For failure to comply with the delivery schedule of Purchase Order (s), to be issued against this tender documents penalty will be imposed on defaulting Supplier as under:

6.1	1% of the cost of entire purchase order or of such item as remain un-supplied/un-completed for every day up to maximum of 5% for 10 days exceeding the delivery period.

6.2	If the item is not supplied even after payment of penalty for 10 consecutive days PRAL reserves the right to cancel the purchase order and to purchase required equipment from elsewhere at risk and cost of the defaulting Supplier.

7.	Quoted prices must be inclusive of all taxes (Income Tax and Sales Tax), indicating unit price and total bid price.

8.	Price must be quoted including all charges like handling, loading, transportation, unloading of the equipment at Islamabad & Karachi. Quoted prices must also be inclusive of cost for the free maintenance of equipment on installation site during warranty period.

9.	Bidding Form Annexure “B” must also be duly filled in, stamped and signed by authorized representative of the bidder.

10.	Quoted price shall be valid for six (6) months from the opening date of the bids. However, any subsequent change in taxes and duties as notified by Federal Board of Revenue will be given due consideration.

11.	EARNEST MONEY:

The Bidder shall furnish as part of his bid, a Call Deposit/Pay Order equivalent to 2% of the total bid value as Earnest Money crossed in favour of “Pakistan Revenue Automation (Pvt.) Ltd.”. Any bid not accompanied by Earnest Money shall be rejected without any right of appeal. In case of cancellation of Purchase Order as default of the Supplier the earnest money shall be forfeited in favour of PRAL. Bank Guarantee as earnest money shall not be acceptable.

12.	PAYMENT:

100% payment of the total value of the bill/purchase order will be released subject to:

12.1.	Completion of the delivery, installation, testing,  commissioning, configuration etc of the equipment in accordance with the specifications mentioned in this tender document or Purchase Order(s) to be issued against this tender;

12.2.	Submission of Bank Guarantee (to be issued by any renowned schedule bank) being 10% of the total bill value for the warranty period. The Bank Guarantee shall be released after successful completion of warranty period. Failing to provide bank guarantee 10% of the bill shall be retained till to the successful expiry of the warranty period;

13.	SEALING AND MARKING OF BIDS.

13.1	The bids shall be submitted in sealed envelope marked as under:

Manager(Procurement)

House # 2-A, Embassy Road, Sector G-6/4, Islamabad

13.2	The envelopes shall also bear the word “CONFIDENTIAL” and following identifications:-

BID NO. P-36/2012

For purchase of Network Equipment and Ancillaries

14.	DEADLINE FOR SUBMISSION OF BIDS:

All bids must be delivered in the Office of undersigned on or before the prescribed deadline of 1200 hours on 12/12/2012.

15.	OPENING OF BIDS:

The Purchaser will open the bids in the presence of bidder representatives who choose to attend at 1230 hours on 12/12/2012 at the below mentioned address.

16.	WARRANTY

16.1	The Supplier shall warrant that all equipment supplied against the Purchase Order (s) shall have no defect arising from design, materials or workmanship or from any act or omission of the Supplier, that may develop under normal use of the supplied items under the conditions prevailing at final destination.

16.2	Period of Warranty and maintenance with labour and material cost shall be “three (3) years comprehensive”.

During warranty period the supplier will be responsible to repair/replace the faulty equipment on installation place free of cost within 24 hours after occurrence of fault. During warranty period due to any reason, if the Supplier failed to rectify the problem, PRAL shall repair the equipment or replace the defective parts thereof and forfeit the Bank Guarantee/retained values.

17.	All bids should include:

17.1	Company’s profile, list of clients with their telephone number and address;

17.2	Copies of Income Tax and Sales Tax registration certificates;

17.3	A call deposit being 2% of the total bid value as Earnest Money crossed in favour of “Pakistan Revenue Automation (Pvt.) Ltd.; and

17.4.	Affidavit (on legal paper) that the vendor is neither blacklisted nor in litigation with any of its clients.

18.	The bidders are required to quote ITEM WISE / LOT WISE rates. GST (where applicable) may be quoted separately against each item.

19.	PRAL reserves the right to increase or decrease the quantity of the equipment mentioned in the Schedule or Requirement

# (SOHAIL AKHTAR)

Manager (Procurement)

House # 2-A, Embassy Road, Sector G-6/4, Islamabad.

ANNEXURE-A

SCHEDULE OF REQUIREMENT

TENDER # P-36/2012 DATED 27/11/2012

LOT 1:

EXPANSION IN CURRENT DATA CENTERS AT KARACHI & ISLAMABAD:

ADDITION OF APC 42U RACKS

SUMMARY

This specification describes a standard enclosure for medium to high density servers and networking appliances. The racks should be of compact width to optimize data center space and 42U in height to easily roll through doorways. The data rack must include Baying hardware, Documentation CD / Booklet, Key(s), Keyed-alike doors and side panels, Leveling feet, Mounting Hardware, Pre-installed casters, Side Panels. APC / Panduit or equivalent racks are required.

Following features are required for Network Racks

- The unit shall be designed to provide a secure, managed environment for computer and networking equipment.

- The unit shall conform to EIA-310 Standard for Cabinets, Racks, Panels and Associated Equipment and accommodate industry standard 19” rack mount equipment

- Enhanced door ventilation with scalable options capable of cooling high density solutions

- Tool less 0U mounting provisions for extensive line of Rack Power Distribution Units (PDUs) for high density applications

- Integrated features and options for horizontal and vertical routing of high-density cabling

- Vendor-neutral mounting for guaranteed compatibility with all EIA-310 compliant 19” equipment

Specifications for APC Racks and Allied Accessories

| # | Item Description | Part No | Karachi | Islamabad | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | Net Shelter SX 42U - 600mm Wide x 1070mm Deep Enclosure with side panels & FRONT AND BACK DOORS | AR3100 | 5 | 5 | Standard enclosure for low to medium density server and networking applications. Compact width to optimize data center space. 42U height to easily roll through doorways. |
| 2 | NetShelter SX Roof Brush Strip | AR7714 | 5 | 5 | Set of 5 Strips per rack |
| 4 | Vertical Cable Organizer, 8 Cable Rings, Zero U | AR8442 | 10 | 10 | Set of 2 Cable Organizers with 8 rings per Rack |
| 5 | Vertical Cable Organizer, NetShelter ValueLine, 42U | AR7501 | 10 | 10 | Set of 2 Cable Organizers per Rack |
| 6 | Vertical Cable Manager for NetShelter SX Networking Enclosure | AR7717 | 20 | 20 | Set of 4 piece cable management sections per rack with smooth plastic fingers at 1U increments to allow patch cords to enter and exit in an organized manner. |
| 7 | Horizontal Cable Manager, 2U Single Side with Cover | AR8600 | 10 | 10 | Set of 2 Horizontal Cable Managers per rack to neatly allow patch cords to enter and exit in an organized manner. |
| 8 | 1U 19" Black Modular Tool less Airflow Management Blanking Panel | AR8136BLK200 | 1 | 5 | Modular tool less 1U Airflow Management Blanking Panel to prevent air recirculation by occupying unused rack space |
| 9 | Anti-Static Wrist Band | - | 5 | 5 | To be used for Electrostatic Discharge Purpose. |

LOT 2:

FBR HOUSE ISLAMABAD CORE FIBER RE ROUTING FROM 5TH FLOOR TO GROUND FLOOR (DATA CENTER)

SUMMARY

Currently FBR House Core Layer 3 Switches are installed at 5th Floor and due to this FBRs core fiber is aggregated at 5TH Floor. A new Data Center with redundant power is established at ground floor and FBRs core fiber rerouting is required from FBRs 5th Floor to Ground floor. Below is the detailed BOQ.

| S.N | DESCRIPTION | UNIT | QTY |
| --- | --- | --- | --- |
|  | 24 Core Multimode Fiber optic cable (OM1), Connectix/PANDUIT/Corning | Feet | 640 |
|  | 24 Port Optical Distribution frame with pigtails for termination, Connectix/PANDUIT/Corning | Nos. | 2 |
|  | Fiber Patch Cords Multimode 1m Length, Connectix/PANDUIT/Corning | Nos. | 48 |
|  | Ceiling Mount Splicing Joint Box.(OEM) | Nos. | 1 |
|  | Fiber Splicing (per splice) | Nos. | 96 |
|  | Turnkey Installation (Laying, Termination, commissioning) | Job | 1 |

Note:

This BOQ is prepared after survey and actual requirements may vary. Survey is strongly recommended for all vendors in coordination with Malik Nasir Abbas, Manager (Infrastructure) PRAL Islamabad-Cell # 0321-5371151 and Mr. Noman Siddiqui, Manager (Infrastructure) PRAL Karachi-Cell # 0321-2594509.

ANNEXURE-B

BIDDING FORM

##### Date:_________						   Tender No.P-36/2012

Pakistan Revenue Automation (Pvt.) Limited, Islamabad.

Gentlemen,

1.	Having examined the conditions to Tender and Specifications of Tender No.P-36/2012 dated 27/11/2012, the receipt of which is hereby acknowledged we, the undersigned, offer to install, supply and deliver in conformity with terms and conditions and specifications mentioned in Tender for the sum of Rs._________________________ (Rupees _____________________________) or such other sums as may be ascertained in accordance with the said Conditions.

2.	If our Bid is accepted we shall deliver the equipment specified in the Tender Documents within ___________ from the date of receipt of your firm Purchase Order.

3.	We agree to abide by the terms and conditions of the Tender for the period of _______ from the date fixed for receiving the same and it shall remain binding upon us and may be accepted at any time before the expiration of that period.

4.	Until a formal Purchase order(s) is placed, this Bid, together with your written acceptance thereof, shall constitute a binding contract between us.

5.	We understand that you are not bound to accept the lowest or any proposal you may receive or to inform us of the rejection of our bid or to give any reasons therefore.

Dated this ______________________ day of ______________________________ 2012___________________

Signature _______________________ in the capacity of ______________________________ duly authorized to sign Tender for and on behalf of

___________________________________________________________________________________________

(NAME OF FIRM IN BLOCK CAPITALS)

Complete address:____________________________________________________________________________

Fax No.____________________________ Telephone No.________________________________________

______________________

( SIGNATURE )

Witness:-

1.	_______________________

2.	_______________________