TENDER DOCUMENTS

PAKISTAN REVENUE AUTOMATION (PVT.) LIMITED

Tender No. ADMIN(G-04)/2013

Dated 23/12/2013

BIDS SUBMISSION: 07/01/2014 ON OR BEFORE 1500 HOURS

BIDS OPENING DATE AND TIME: 07/01/2014 AT 1530 HOURS

Subject:	TENDER NO. ADMIN(G-04)/2013 DATED 23/12/2013 FOR CIVIL & INTERIOR WORK AND ELECTRICAL ITEMS / WORK AT STP OFFICE AS PER DETAIL GIVEN IN THE SCHEDULE OF REQUIREMENT ANNEXURE “A

01.	Pakistan Revenue Automation (Pvt.) Ltd. (hereinafter called PRAL/Purchaser) invites sealed bids from the firms registered with sales tax and income tax departments for civil & interior work and electrical items (including supply & installation) as per detail described in Schedule of Requirement Annexure “A”.

02.	All Government Taxes shall be deducted as per law.

03.	PRAL reserves the right to increase or decrease the quantity mentioned in the Schedule of Requirement Annexure “A”, accept or reject any bid to be received against this tender inquiry, annul the bidding process and reject all bids at any time prior to award of Contract (s). Justification of the rejection of bid (s) will be provided on request.

04.	If you have any doubt as to the meaning of any portion of the Schedule of Requirement (Annexure “A”), you may seek clarification of the same from Mr. Muhammad Usman, Chief Manager (Development), 2nd floor, Software Technology Park (STP), I-9/3, Islamabad, Cell # 0321-5576257.

05.	PROJECT COMPLETION SCHEDULE:

The items / jobs mentioned in the Annexure “A” are to be completed / delivered within 20 days after receipt of the work order (s) against this Tender. The bidders are required to clearly quote project completion time (as minimum as possible).

06.	PENALTY:

For failure to comply with the delivery schedule of Purchase Order (s), to be issued against this tender documents penalty will be imposed on defaulting Supplier as under:

06.1	1% of the cost of entire purchase order or of such item as remains un-supplied/un-completed for every day up to maximum of 5% for 10 days exceeding the delivery period.

06.2	If the item is not supplied even after payment of penalty for 10 consecutive days PRAL reserves the right to cancel the purchase order and to purchase required equipment from elsewhere at risk and cost of the defaulting Supplier.

07.	Quoted prices must be inclusive of all taxes (Income Tax and Sales Tax), indicating unit price and total bid price. Prices must be quoted as per format given in the “Schedule of Requirement” annexure-“A”.

08.	Price must be quoted including all charges like handling, loading, transportation, unloading of the material.

09.	Bidding Form must also be duly filled in, stamped and signed by authorized representative of the bidder.

10.	Quoted price shall be valid for ninety (90) days from the opening date of the bids. However, any subsequent change in taxes and duties as notified by Federal Board of Revenue will be given due consideration.

11.	PAYMENT:

100% payment of the total value of the bill/purchase order will be released subject to Completion of the job / delivery in accordance with the specifications mentioned in this tender document or Work Order to be issued against this tender and submission of bank guarantee as described under clause “17” of this tender documents.

12.	SEALING AND MARKING OF BIDS.

12.1	The bids shall be submitted in sealed envelope marked as under:

MANAGER (PROCUREMENT)

PAKISTAN REVENUE AUTOMATION (Pvt.) LIMITED

2nd floor, Software Technology Park (STP), I-9/3, Islamabad.

12.2	The envelopes shall also bear the word “CONFIDENTIAL” and following identifications:-

BID NO. ADMIN(G-04)/2013

FOR CIVIL, INTERIOR & ELECTRICAL WORK

13.	DEADLINE FOR SUBMISSION OF BIDS:

All bids must be delivered in the Office of undersigned on or before the prescribed deadline of 1500 hours on 07/01/2014.

14.	OPENING OF BIDS:

The Purchaser will open the bids in the presence of bidder representatives who choose to attend at 1530 hours on 07/01/2014 at 2nd floor, Software Technology Park (STP), I-9/3, Islamabad.

.

15.	WARRANTY

15.1	The Supplier shall warrant that all equipment supplied against the Purchase Order (s) shall have no defect arising from design, materials or workmanship or from any act or omission of the Supplier, which may develop under normal use of the supplied items under the conditions prevailing at final destination.

15.2	Period of Warranty and maintenance with labour and material cost shall be minimum SIX (06) Months.

During warranty period the supplier will be responsible to repair/replace the faulty item (s)/work done) on installation place free of cost within 24 hours after occurrence of fault

16.	If you have any doubt as to the meaning of any portion of the technical specifications, you may seek clarification of the same from Mr. Muhammad Usman, Chief Manager (Development), Cell # 0321-5576257.

17.	BANK GUARANTEE

After completion and acceptance of the Project by PRAL, the bidder will have to provide the Bank Guarantee, being 10% of the total value of the bill/Contract, issued by renowned Schedule Bank, for the warranty/maintenance period to be offered. In case the supplier failed to provide the Bank Guarantee 10% of the total bill value shall be retained by PRAL till the successful completion of warranty period. The Bank Guarantee shall be released after successful completion of warranty period. In case the supplier failed to complete the warranty period successfully then the retained value/bank guarantee shall be forfeited in favour of PRAL.

18.	EARNEST MONEY:

The Bidder shall furnish as part of his bid, Call Deposit/Pay Order equivalent to 2% of the total bid value as Earnest Money crossed in favour of “Pakistan Revenue Automation (Pvt.) Ltd.”. Any bid not accompanied by Earnest Money shall be rejected without any right of appeal. In case of cancellation of Purchase Order as default of the Supplier the earnest money shall be forfeited in favour of PRAL.

19.	All bids should include:

19.1	Company/firm name with complete address with detail landline number, fax, etc.

19.2	Company’s profile, list of clients with their telephone number and address;

19.3	Copies of Income Tax and Sales Tax registration certificates; and

19.4.	Affidavit (on legal paper) to the effect that the firm has never been black- listed by any agency of government/semi government/autonomous or business concern; and

19.5	Earnest money as per clause 18 of the tender documents.

(SOHAIL AKHTAR)

Manager (Procurement)

2nd floor, Software Technology Park (STP), I-9/3, Islamabad.

Ph: 051-9257428, Cell: 03235159230

ANNEXURE-A

SCHEDULE OF REQUIREMENT

TENDER # ADMIN(G-04)/2013, DATED 23/12/2013

| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| S. # | Description | UOM | Qty. | Material cost (excluding GST) | GST on material | Installation / labour cost | Total cost (column 5+6+7) |
| 1 | 4-1/2" thick bricks masonry work | SFT | 1,600 |  |  |  |  |
| 2 | Plaster work | SFT | 3,600 |  |  |  |  |
| 3 | Paint work (ICI plastic emulsion or equivalent) | SFT | 1,900 |  |  |  |  |
| 4 | Bath wall tiles (Master Grade 1/Sonex) | SFT | 700 |  |  |  |  |
| 5 | Bath wall tiles (Imported) | SFT | 1,000 |  |  |  |  |
| 6 | Floor Tile work (Master Grade 1/Sonex) | SFT | 500 |  |  |  |  |
| 7 | Floor Tile work (Master Grade 1/Sonex) | SFT | 300 |  |  |  |  |
| 8 | 6" thick PCC floor | SFT | 450 |  |  |  |  |
| 9 | Entrance Glass Door 3'-3" with chokhat of Oakwood (1-1/2"x 4") with gola on sides and complete fittings with polish | Nos. | 3 |  |  |  |  |
| 10 | Flush Door 3'-3"with chokhat of oak wood with all fittings (made with Malaysian ply or oak wood vinear) | No | 1 |  |  |  |  |
| 11 | Flush Door 2'- 3" with chokhat, fittings and paint (made with malaysian ply or oak wood vinear) | Nos. | 11 |  |  |  |  |
| 12 | Slab for under counter W.B fitting | CFT | 17 |  |  |  |  |
| 13 | Granite slab | SFT | 100 |  |  |  |  |
| 14 | Under counter wash basin (Porta or equivalent brand) | Nos. | 13 |  |  |  |  |
| 15 | Laying of PPRC Hot water and Cold Water Supply lines inside bathrooms and from bathrooms to main water supply lines | L.S | 2 |  |  |  |  |
| 16 | Laying of UPVC Sewerage Lines (separate for WC and wash basin/floor trap) Inside bathrooms and from the Bathrooms to the main sewerage line and the main holes | L.S | 2 |  |  |  |  |
| 17 | Muslim Shower sets with its fittings (Sonex/Master) | Nos. | 7 |  |  |  |  |
| 18 | Wash Basin Tap Set with its fittings (Sonex/Master) | Nos. | 9 |  |  |  |  |
| 19 | WC English double body (Porta or equivalent) | Nos. | 5 |  |  |  |  |
| 20 | WC Indian with tank (Porta or equivalent) | Nos. | 2 |  |  |  |  |
| 21 | Mirror 4' x 6'-0" (Belgium made) with all fittings | SFT | 136 |  |  |  |  |
| 22 | Floor Traps covers (6" x 6" ) | Nos. | 10 |  |  |  |  |
| 23 | Philips Energy savers with wiring and fitting in false ceiling | Nos | 48 |  |  |  |  |
| 24 | Exhaust fans (Younis or equivalent) | Nos | 9 |  |  |  |  |
| 25 | Switch plates 06 gang (Imported) | Nos | 15 |  |  |  |  |
| 26 | Soap Dispensers (Master or equivalent) | Nos | 14 |  |  |  |  |
| 27 | Tissue paper roller (Master or equivalent) | Nos | 27 |  |  |  |  |
| 28 | Tissue paper Box (Master or equivalent) | Nos | 8 |  |  |  |  |
| 29 | Electronic Hand Dryer (European Made) | Nos | 7 |  |  |  |  |

Note:

The Scope of work includes Supply, Provision, Laying and Installations of all the above mentioned items at site. Further Kindly note that the above items may be considered as one (01) LOT. Therefore, the bidders are required to quote their rates for each item. The contract will be awarded to the bidder who will quote each item and will be emerged lowest technical compliant bidder against the entire LOT.

ANNEXURE-"B"

BIDDING FORM

Dated   /   /2014

Tender No. ADMIN(G-04)/2013

Pakistan Revenue Automation (Pvt.) Limited, Islamabad.

Gentlemen,

1.	Having examined the conditions to Tender and Specifications of Tender No. Admin (G-04)/2013 dated 23/12/2013 the receipt of which is hereby acknowledged we, the undersigned, offer to install, supply and deliver in conformity with specifications mentioned in Annexure “A” and conditions of Tender for the sum of Rs._________________________ (Rupees ______________________________ ) or such other sums as may be ascertained in accordance with the said Conditions.

2.	If our Bid is accepted we shall deliver the equipment mentioned in the tender documents within ______ days from the date of receipt of your firm Purchase Order.

3.	We agree to abide by the terms and conditions of the Tender for the period of _______ from the date fixed for receiving the same and it shall remain binding upon us and may be accepted at any time before the expiration of that period.

4.	Until a formal Purchase order(s) is placed, this Bid, together with your written acceptance thereof, shall constitute a binding contract between us.

5.	We understand that you are not bound to accept the lowest or any proposal you may receive or to inform us of the rejection of our bid or to give any reasons therefore.

Dated this ______________________ day of ______________________________ 2014_______________.

Signature _______________________ in the capacity of ______________________________ duly authorized to sign Tender for and on behalf of

_____________________________________________________________________________________

(NAME OF FIRM IN BLOCK CAPITALS)

Complete address:________________________________________________________________________

Fax No.____________________________ Telephone No.______________________________________

______________________

( SIGNATURE )

Witness:-

1.	_______________________

2.	_______________________