TENDER DOCUMENTS

PAKISTAN REVENUE AUTOMATION (PVT.) LIMITED

Tender No. P-06/2014

Dated 04/04/2014

BIDS SUBMISSION: 21/04/2014 ON OR BEFORE 1100 HOURS

BIDS OPENING DATE AND TIME: 21/04/2014 AT 1130 HOURS

Subject:	TENDER NO.P-06/2014 FOR THE RE ROUTING OF FBR HOUSE CORE FIBER FROM 5TH FLOOR TO GROUND FLOOR (DATA CENTER)

1.	Pakistan Revenue Automation Pvt. Limited (hereinafter called PRAL/Purchaser) invites sealed bids for the Re-routing of  FBR House, Core Fiber from 5th floor to Ground floor (Data Center) as per detail / specifications described in the BOQ attached at Annexure-“A”.

2.	If you have doubt as to the meaning of any portion of the specifications or other terms and conditions you may seek clarification of the same in writing from Malik Nasir Abbas, Manager (Infrastructure) PRAL, 2nd floor, Software Technology Park, I-9/3, Islamabad- Cell # 0321-5371151.

3.	PRAL reserves the right to increase or decrease the quantity mentioned in the Schedule of Requirement Annexure “A”, accept or reject any bid to be received against this tender inquiry, annul the bidding process and reject all bids at any time prior to award of Contract (s). Justification of the rejection of bid (s) will be provided on request.

4.	Income Tax / Withholding Tax will be deducted in accordance with the law. Kindly note that the Sales Tax shall also be deducted in accordance with the law.

5.	DELIVERY SCHEDULE

The supply & installation time is 4-8 weeks after award of contract(s) to be issued against this tender inquiry. So the lowest technical complaint bidder may be in a position to complete delivery / installation, testing commissioning and configuration etc within the given time frame.

6.	PENALTY:

For failure to comply with the delivery schedule of Purchase Order (s), to be issued against this tender documents penalty will be imposed on defaulting Supplier as under:

6.1	1% of the cost of entire purchase order or of such item as remain un-supplied/un-completed for every day up to maximum of 5% for 10 days exceeding the delivery period.

6.2	If the item is not supplied even after payment of penalty for 10 consecutive days PRAL reserves the right to cancel the purchase order and to purchase required equipment from elsewhere at risk and cost of the defaulting Supplier.

7.	Quoted prices must be inclusive of all taxes (Income Tax and Sales Tax), indicating unit price and total bid price.

8.	Price must be quoted including all charges like handling, loading, transportation, unloading of the equipment at Islamabad. Quoted prices must also be inclusive of cost for the free maintenance of equipment on installation site during warranty period.

9.	Bidding Form Annexure “B” must also be duly filled in, stamped and signed by authorized representative of the bidder.

10.	Quoted price shall be valid for ninety (90) days from the opening date of the bids. However, any subsequent change in taxes and duties as notified by Federal Board of Revenue will be given due consideration.

11.	EARNEST MONEY:

The Bidder shall furnish as part of his bid, a Call Deposit/Pay Order equivalent to 2% of the total bid value as Earnest Money crossed in favour of “Pakistan Revenue Automation (Pvt.) Ltd.”. Any bid not accompanied by Earnest Money shall be rejected without any right of appeal. In case of cancellation of Purchase Order as default of the Supplier the earnest money shall be forfeited in favour of PRAL. Bank Guarantee as earnest money shall not be acceptable.

12.	PAYMENT:

100% payment of the total value of the bill/purchase order will be released subject to:

12.1.	Completion of the delivery, installation, testing,  commissioning, configuration etc of the job / equipment in accordance with the specifications mentioned in this tender document or Purchase Order(s) to be issued against this tender;

12.2.	Submission of Bank Guarantee (to be issued by any renowned schedule bank) being 10% of the total bill value for the support / maintenance period. The Bank Guarantee shall be released after successful completion of support / maintenance period. Failing to provide bank guarantee 10% of the bill shall be retained till to the successful expiry of the warranty period;

13.	SEALING AND MARKING OF BIDS.

13.1	The bids shall be submitted in sealed envelope marked as under:

MANAGER (PROCUREMENT)

BID NO.P-06/2014

FOR RE ROUTING OF CORE FIBER

13.2	The envelopes shall also bear the word “CONFIDENTIAL” and following identifications:-

BID NO. P-06/2014

For Re- routing of Core Fiber

14.	DEADLINE FOR SUBMISSION OF BIDS:

All bids must be delivered in the Office of undersigned on or before the prescribed deadline of 1100 hours on 21/04/2014.

15.	OPENING OF BIDS:

The Purchaser will open the bids in the presence of bidder representatives who choose to attend at 1130 hours on 21/04/2014 at the below mentioned address.

16.	WARRANTY

16.1	The Supplier shall warrant that all equipment supplied against the Purchase Order (s) shall have no defect arising from design, materials or workmanship or from any act or omission of the Supplier that may develop under normal use of the supplied items under the conditions prevailing at final destination.

16.2	Period of support and maintenance with labour and material cost shall be “one (01) year after handing over of project to PRAL.

During support / warranty period the supplier will be responsible to repair/replace the faulty equipment on installation place free of cost within 24 hours after occurrence of fault. During warranty period due to any reason, if the Supplier failed to rectify the problem, PRAL shall repair the equipment or replace the defective parts thereof and forfeit the Bank Guarantee/retained values.

17.	All bids should include:

17.1	Company’s profile, list of clients with their telephone number and address;

17.2	Copies of Income Tax and Sales Tax registration certificates;

17.3	A call deposit being 2% of the total bid value as Earnest Money crossed in favour of “Pakistan Revenue Automation (Pvt.) Ltd.; and

SOHAIL AKHTAR)

Manager (Procurement)

2nd Floor, Software Technology Park (STP), I-9/3, Islamabad. Ph: 051-9257428, Cell: 03235159230

ANNEXURE-A

SCHEDULE OF REQUIREMENT

FBR HOUSE ISLAMABAD CORE FIBER RE ROUTING FROM 5TH FLOOR TO GROUND FLOOR (DATA CENTER)

SUMMARY

Currently FBR House Core Layer 3 Switches are installed at 5th Floor and due to this FBRs core fiber is aggregated at 5TH Floor. A new Data Center with redundant power is established at ground floor and FBRs core fiber rerouting is required from FBRs 5th Floor to Ground floor. Below is the detailed BOQ.

| S.N | DESCRIPTION | UNIT | QTY |
| --- | --- | --- | --- |
|  | 24 Core Multimode Fiber optic cable (OM1), Connectix/PANDUIT/Corning | Feet | 640 |
|  | 24 Port Optical Distribution frame with pigtails for termination, Connectix/PANDUIT/Corning | Nos. | 2 |
|  | Fiber Patch Cords Multimode 1m Length, Connectix/PANDUIT/Corning | Nos. | 48 |
|  | Ceiling Mount Splicing Joint Box.(OEM) | No. | 1 |
|  | Fiber Splicing (per splice) | Nos. | 96 |
|  | Turnkey Installation (Laying, Termination, commissioning) | Job | 1 |

Note:

This BOQ is prepared after survey and actual requirements may vary. Prior to submission of bids survey is strongly recommended for all vendors in coordination with Malik Nasir Abbas, Manager (Infrastructure) PRAL Islamabad-Cell # 0321-5371151.

ANNEXURE-B

BIDDING FORM

##### Date:_________								      Tender No.P-06/2014

Pakistan Revenue Automation (Pvt.) Limited, Islamabad.

Gentlemen,

1.	Having examined the conditions to Tender and Specifications of Tender No.P-06/2014 dated 04/04/2014, the receipt of which is hereby acknowledged we, the undersigned, offer to install, supply and deliver in conformity with terms and conditions and specifications mentioned in Tender for the sum of Rs._________________________ (Rupees _____________________________) or such other sums as may be ascertained in accordance with the said Conditions.

2.	If our Bid is accepted we shall deliver the equipment specified in the Tender Documents within ___________ from the date of receipt of your firm Purchase Order.

3.	We agree to abide by the terms and conditions of the Tender for the period of _______ from the date fixed for receiving the same and it shall remain binding upon us and may be accepted at any time before the expiration of that period.

4.	Until a formal Purchase order(s) is placed, this Bid, together with your written acceptance thereof, shall constitute a binding contract between us.

5.	We understand that you are not bound to accept the lowest or any proposal you may receive or to inform us of the rejection of our bid or to give any reasons therefore.

Dated this ______________________ day of ______________________________ 2014___________________

Signature _______________________ in the capacity of ______________________________ duly authorized to sign Tender for and on behalf of

___________________________________________________________________________________________

(NAME OF FIRM IN BLOCK CAPITALS)

Complete address:____________________________________________________________________________

Fax No.____________________________ Telephone No.________________________________________

______________________

(SIGNATURE )

Witness:-

1.	_______________________

2.	_______________________