TENDER DOCUMENT

PAKISTAN REVENUE AUTOMATION (PVT.) LIMITED

Tender No. P-29/2018

Dated 10-12-2018

BIDS SUBMISSION: 26-12-2018 ON OR BEFORE 1100 HOURS

BIDS OPENING DATE AND TIME: 26-12-2018 AT 1130 HOURS

Subject: 	TENDER NO. P-29/2018 DATED 10-12-2018 FOR PROCUREMENT OF SERVERS FOR DATA CENTER, CUSTOM HOUSE, KARACHI AND STORAGE SPACE ENHANCEMENT OF EMC SAN UNITY 300 DEPLOYED AT DATA CENTER CUSTOM HOUSE KARACHI AND DATA CENTER, FBR HOUSE ISLAMABAD:

1.	Pakistan Revenue Automation (Pvt.) Ltd. (hereinafter called PRAL) invites sealed Proposals from the authorized partners registered with the Sales Tax and Income Tax departments for Procurement of Servers and Storage Space Enhancement of EMC SAN Unity 300 of as per specifications and criteria described in “Annexure-A” enclosed.

2. 	If you have doubt as to the meaning of any portion of the specifications or other terms and conditions you may seek clarification of the same from Mr. Ali Hameed, Chief Manager (Networks & Infrastructure) PRAL, Islamabad, on Cell # 0300-0240565.

3. 	The successful vendor will be responsible for the delivery of Servers at Karachi and Storage enhancement of EMC SAN deployed at Data Centers Islamabad and Karachi. Quoted prices must be inclusive of installation and training charges as well as migration of records from existing solution.

4.	PRAL reserves the right to increase or decrease the quantity mentioned in the Schedule of Requirement Annexure “A” and accept or reject any bid to be received against this tender inquiry, annul the bidding process and reject all bids at any time prior to award of Contract (s). Justification of the rejection of bid (s) will be provided on request.

5. 	DELIVERY SCHEDULE:

The delivery/installation and configuration is required within 4-6 weeks.

6. 	PENALTY:

For failure to comply with the delivery schedule of Purchase Order (s), penalty will be imposed on defaulting Supplier as under:

6.1 	1% of the cost of entire purchase order or of such equipment as remains un-supplied/un-completed for every day up to maximum of 5% for 10 days exceeding the delivery period.

6.2 	If the solution is not supplied even after payment of penalty for 10 consecutive days PRAL reserves the right to cancel the purchase order and to purchase required equipment from elsewhere at risk and cost of the defaulting Supplier.

7. 	Income Tax / Withholding Tax will be deducted in accordance with the law. Kindly note that the Sales Tax shall also be deducted in accordance with the law.

8. 	Price must be quoted including all charges like Supply, Installation, Configuration, as required by Customer at the location as mentioned above.

9. 	Quoted price shall be valid for 180 days from the opening date of the bids. However, any subsequent change in taxes and duties as notified by Federal Board of Revenue will be given due consideration.

10. 	Bidding Form as per Annexure “B” must also be duly filled in, stamped and signed by authorized representative of the bidder.

11. 	EARNEST MONEY:

11.1 	The Bidder shall furnish as part of his bid, a Call Deposit/Pay Order equivalent to 2% of the total bid value as Earnest Money crossed in favor of “Pakistan Revenue Automation (Pvt.) Ltd.”. Any bid not accompanied by Earnest Money shall be rejected without any right of appeal. The solution has two options, bidders quoting for both options should submit earnest money of both options separately.

11.2 	Part earnest money or crossed Cheque/bank guarantee, as earnest money is not acceptable.

11.3 	In case of cancellation of Purchase Order as default of the Supplier the earnest money shall be forfeited in favor of PRAL.

12. 	PAYMENT:

90% payment of the total value of the bill/purchase order will be released after supply and installation of Solution in accordance with the Purchase Order and remaining 10% shall be released after completion of warranty period or submission of Bank Guarantee, being 10% of the total bill value. The bank guarantee must be issued by renowned schedule bank. The bank guarantee shall be released after successful completion of warranty period.

13. 	Warranty and Support must be three (3) years comprehensive, onsite with parts & labor (applicable for LOT 1 only). The bidder must be authorized partner of OEM. During the support period if the partner is unable to resolve the issue then OEM must be engaged for resolution of issue.

14. 	SEALING AND MARKING OF BIDS.

14.1 The bids shall be submitted in sealed envelope marked as under:

MANAGER (P&I)

PAKISTAN REVENUE AUTOMATION (Pvt.) LIMITED

2nd Floor, Software Technology Park (STP), Sector, I-9/3, Islamabad.

14.2 The envelopes shall also bear the word “CONFIDENTIAL” and following identifications: -

BID NO. P-29/2018 Dated 10-12-2018

For the Procurement of Servers and Storage Space Enhancement of EMC SAN

14.3 If the envelope is not marked, as instructed above, the PRAL will assume no responsibility for the misplacement or premature opening of the bid.

15. 	DEADLINE FOR SUBMISSION OF BIDS:

All bids/Proposals must be delivered in the office of undersigned on or before the prescribed deadline of 1100 hours on 26-12-2018.

16.	 LATE PROPOSALS:

Any bid received by the PRAL after the prescribed deadline will be returned unopened to the Bidder.

17. 	OPENING OF BIDS:

The Purchaser will open the bids in the presence of bidder’s representatives who choose to attend at 1130 hours on 26-12-2018 in the office of undersigned at 2nd Floor, Software Technology Park (STP), Sector, I-9/3, Islamabad.

18. 	EVALUATION:

18.1. 	After opening, PRAL will examine the bids for technical evaluation and completeness of the same as per tender requirements.

18.2. 	Bidder (s) who does not qualify cannot challenge the findings of the evaluation or ask for reasons of disqualification.

19.	 INSPECTION AND TESTS:

19.1. 	PRAL’s representative shall have the right to inspect and / or test the equipment/solution to confirm their conformity to Purchase Order (s) specifications.

19.2. 	Should any inspected or tested item fail to conform to the specifications, PRAL may reject it and the Supplier shall either replace the rejected equipment or make all alterations necessary to meet specification of PRAL. All costs incurred on such replacements / alterations shall be entirely borne by the Supplier. Failing to do so the Purchase Order (s) will be cancelled and all retained values of the defaulter will be forfeited in favor of PRAL.

20. WARRANTY:

20.1 	The Supplier shall warrant that all material supplied under the Contract (s) shall have no defect arising from design, materials or workmanship or from any act or omission of the Supplier, that may develop under normal use of the supplied items under the conditions prevailing at final destination.

20.2 	PRAL shall promptly notify the Supplier in writing of any claims arising under this Warranty. Upon receipt of such notice, the Supplier shall repair or replace the defective equipment or parts thereof, without cost to PRAL immediately.

20.3 	Period of comprehensive warranties and support with labor and material cost shall be three (3) years comprehensive (with labor & parts) applicable for LOT 1.

During the warranty period due to any reason, if the Supplier failed to rectify the problem, PRAL shall get repair the equipment or replace the defective parts thereof and forfeit the Bank Guarantee/retained values.

21. 	All bids should include:

- Company’s profile, list of such projects handled, list of clients with telephone numbers and addresses.

- Copies of Income Tax and Sales Tax registration certificates.

- Affidavit (on legal paper) to the effect that the firm has never been black- listed by any agency of government/semi government/autonomous or business concern.

- Earnest Money 2% of total bid value.

- Annual Turnover and Audit Report of previous financial year.

- Details of Technical Resources with certifications.

- Project Specific Certified Resources.

- Working office in Islamabad with address Proof.

- List of major projects.

- Complete Client Details.

- Reference letter from the clients

(NADEEM ANWAR)

Manager (P&I)

2nd floor, Software Technology Park (STP), I-9/3, Islamabad.

Ph: 051-9259354, 051-9259353

Email: nadeem.anwar@pral.com.pk

ANNEXURE-A

SCHEDULE OF REQUIREMENT

TENDER # P-29/2018 DATED 10-12-2018

LOT 1: Servers

Rack Mount Servers Internationally recognized brand only

| Rack Mount Servers | Qty: 02 |
| --- | --- |

| # | Description | Specifications |
| --- | --- | --- |
|  | Rack Mount Servers Processors& Power Supplies | 4 * Intel® Xeon® 2.XXX GHz,16C,22MB L3 Cache, Equivalent of higher processor |
|  |  | Redundant hot swappable Power supplies |
|  | Memory | 512GB DDR4 |
|  | Hard Drives | INSTALLED HARD DRIVE: 4x 1TB SATA 7.2K Rpm Hot-Plug Hard Drive Support: 2.5" SATA 7.2k or 3.5" Enterprise SATA 7.2k HDDs |
|  | RAID Controllers | Controller with 1GB NV Cache |
|  | USB Ports | Standard USB ports |
|  | Network Interfaces | 2 HBA cards for each server with dual ports of 16Gbps data transmission speed. Auto negotiate to 8 & 4 Gbps |
|  |  | 4x 10 Gbps Ethernet port auto negotiate to 1 Gbps |
|  |  | Must support NIC teaming in an active/active configuration |
|  |  | 1x1Gbps management or ILO port |
|  | Operating System Support | Support for all operating systems from Microsoft (X86), Linux, Ubuntu, Solaris Intel, RHEL, SUSE, VMware/Citrix/Oracle/Open Hypervisors |
|  | Warranty & Support | Post-sales support for the solution and associated equipment should be provided 03 years 24x7 comprehensive onsite. Partner must have support SLA with OEM. During the warranty period the bidder will be responsible for the replacement of faulty components within 4 hours. Firmware upgrades of rack mount servers and allied equipment must be done proactively during the warranty coverage period. All equipment should be quoted with three (03) years comprehensive support including parts and labor. No additional charges would be paid on account for labor charges. All ports must be fully populated and all required convertors / cables must be provided by the supplier. |
|  | Accessories | All cables connectors and accessories including the rack mount kit should also be provided by the bidder. |
|  | Optical Drive | DVD Combo Drive. |

| Software | Qty: Mentioned in Specification |
| --- | --- |

| # | Description | Specifications |
| --- | --- | --- |
| 1. | RHEL 7.5 | 03 Licenses Require with 03 Years comprehensive support. |

LOT 2: Storage Space Enhancement of EMC SAN (Unity 300)

Scope of Work

The vendor will be responsible for the storage space enhancement of EMC SANs (Unity 300) deployed at Data Center FBR House and Data Center Custom House, Karachi. Any additional components required for this upgrade will be the responsibility of the bidder. The additional usable space required is as under:

Data Center FBR House Islamabad

- The additional usable space required for EMC SAN is 11.46 TB with the following configuration

| Line# | Qty | Product ID | Description |
| --- | --- | --- | --- |
| UNITY 300 |
| Hardware |
| 1 | 1 | SYSTEM | UNITY 300 |
| 2 | 5 | D3-2S12FX-800U | UNITY 800GB FLASH 25X2.5 DRIVE UG |
| 3 | 10 | D3-2S10-1200U | UNITY 1.2TB 10K SAS 25X2.5 DRIVE UPG |
| Maintenance |
| 1 | 1 | M-PSM-HWE-004 | ProSupport MC Hardware Maintenance |

Data Center Custom House, Karachi

- The additional usable space required for EMC SAN is 44.42 TB with the following configuration

| Line# | Qty | Product ID | Description |
| --- | --- | --- | --- |
| UNITY 300 |
| Hardware |
| 1 | 1 | SYSTEM | UNITY 300 |
| 2 | 10 | D3-2S12FX-800U | UNITY 800GB FLASH 25X2.5 DRIVE UG |
| 3 | 17 | D3-VS07-2000U | UNITY 2TB NLSAS 15X3.5 DRIVE UPG |
| 4 | 21 | D3-2S10-1200U | UNITY 1.2TB 10K SAS 25X2.5 DRIVE UPG |
| 5 | 2 | C13-PWR-5 | 2 C13 PWRCORDS W/ BSI 1363 250V 10A |
| 6 | 1 | D3122F | UNITY 2U 25X2.5 DRIVE DAE FLD RCK |
| 7 | 1 | D3123F | UNITY 3U 15X3.5 DRIVE DAE FLD RCK |
| Maintenance |
| 1 | 1 | M-PSM-HWE-004 | ProSupport MC Hardware Maintenance |

Currently the EMC SAN is under warranty. The warranty and support of the upgrade solution should be in line with the existing SAN Solution.

The proposed solution should be vetted by the OEM. The bidder should be the authorized partner of the OEM.

ELIGIBILITY CRITERIA

| Sr. # | Criteria | Compliance | Documents to be provided by the bidder |
| --- | --- | --- | --- |
|  | Bidders who have been black listed/ debarred by any govt. Dept. shall not be considered. An affidavit to this effect shall be submitted by the consultant/consulting bidder duly attested by authorized signatory. |  | Undertaking certificate from THE BIDDER |
|  | The Bidder shall furnish as part of his bid, a Call Deposit/Pay Order equivalent to 2% of the overall cost Earnest Money crossed in favor of “PRAL”. Any bid not accompanied by 2% Earnest Money shall be rejected without any right of appeal. |  | Call Deposit/Pay Order equivalent to 2% of the overall cost. Earnest money should be separate for each LOT |
|  | Partnership with OEM |  | Valid partnership proof with OEM |

GENERAL TERMS AND CONDITIONS

- The warranty and onsite support of the proposed hardware is required for a period of three years applicable for LOT 1 only. Warranty for LOT 2 should be in line with the existing SAN solution.

- The prices should be valid for 180 days.

- Bidders are free to quote for 1 or multiple LOTs, the award of contract will be on LOT basis.

- PRAL reserves the right to accept any bid or reject any or all bids without assigning any reasons whatsoever.

- For All Zero Rated or Exempt Items/Supplies, relevant S.R.O/Circular must be attached with the Quotation.

- This RFP does not commit us to award a contract, to pay any costs incurred in the preparation of a response to this request, or to procure or contract for services or equipment.

- No advance payments are payable, payments will be made on after verification and issuance of Job Completion Certificate.

- Service Provider shall provide service and response engineers mobile numbers to PRAL for direct support during office and off hours.

- Government duties and taxes should be separately mentioned in the Financial Proposal, if applicable.

- The firms black-listed/ debarred in participating in any procurement activities in Pakistan are not allowed to bid.

- Earnest money of the unsuccessful bidders will be returned after award of contract.

- Bidder who has been awarded contract / work orders can get the earnest money released after successful commissioning and issuance of Job Completion Certificate indicating no remaining liabilities.

- All supporting documents along with products MUST be provided.

- Product brochures should also be attached.

- Vendor must provide evidence of partnership letter with OEM.

- If the price is quoted in any currency other than PKR, then the conversion rate at the time of bid opening shall be locked.

- Payment shall be made in PAK Rupees only.

- The bidder should be responsible for the provision of support

- Comprehensive onsite warranty is required 24x7

- The servers shall be deployed at Karachi and sufficient stock should be available to ensure timely replacement of faulty components.

- Warranty period will start after signing off the project.

- During the warranty period, vendor will have to undertake comprehensive maintenance of the entire hardware components, equipment, support and accessories supplied by the vendor at the place of installation of the equipment.

ANNEXURE-B

BIDDING FORM

##### Date: _________								           Tender No. P-29/2018

Pakistan Revenue Automation (Pvt.) Limited, Islamabad.

Gentlemen,

1.	Having examined the conditions to Tender and Specifications of Tender P-29/2018 dated 10-12-2018 the receipt of which is hereby acknowledged we, the undersigned, offer to install, supply and deliver in conformity with terms and conditions and specifications mentioned in Tender for the sum of Rs._________________________ (Rupees _____________________________) or such other sums as may be ascertained in accordance with the said Conditions.

2.	If our Bid is accepted, we shall deliver the equipment specified in the Tender Documents within ___________ from the date of receipt of your contract.

3.	We agree to abide by the terms and conditions of the Tender for the period of _______ from the date fixed for receiving the same and it shall remain binding upon us and may be accepted at any time before the expiration of that period.

4.	Until a formal Purchase order(s) is placed, this Bid, together with your written acceptance thereof, shall constitute a binding contract between us.

5.	We understand that you are not bound to accept the lowest or any proposal you may receive or to inform us of the rejection of our bid or to give any reasons therefore.

Dated this ______________ day of _______________________ 2018_______________

Signature_______________________ in the capacity of __________________________ duly authorized to sign Tender for and on behalf of

___________________________________________________________________________________

(NAME OF FIRM IN BLOCK CAPITALS)

Complete address: ___________________________________________________________________

Fax No._________________________ Telephone No.___________________________

______________________

( SIGNATURE )

Witness: -

- _______________________

- _______________________